DOCUMENT 3

PART 11
FUTURE IMPROVEMENTS AND AI GOVERNANCE

Lifecycle Control, Monitoring, Change Management, Accountability, and Safe Expansion

Development of an Explainable Clinical Decision Support System
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Architecture Specification

Laravel → Python → Random Forest → Deterministic Decision Engine

Version 1.0 | July 2026

Governance position The system shall remain a clinician-support and workflow-support tool under human oversight. Future improvements are permitted only through controlled evidence, documented accountability, and staged deployment. No model, rule, or interface change may be introduced merely because it improves an aggregate score.

# 11.1 Governance Objectives

Protect patients from unsafe automation, hidden model drift, biased performance, and unsupported expansion of intended use.

Assign accountable owners for clinical rules, datasets, model artifacts, software integration, privacy, security, and incident response.

Maintain traceability from every deployed output to the exact model, rule set, software release, and input record.

Require proportionate review before changes and preserve rollback capability.

Use monitoring to detect degradation without allowing uncontrolled self-updating behavior.

# 11.2 Governance Structure

| Role | Core Accountability | Cannot Delegate |
| --- | --- | --- |
| Clinical owner | Approves intended use, clinical rules, wording, escalation, limitations, and residual risk. | Final clinical safety approval. |
| System owner | Coordinates releases, access, uptime, backup, support, and operational documentation. | Release authorization and rollback readiness. |
| ML/data owner | Controls datasets, training code, evaluation, artifacts, monitoring, and retraining proposals. | Model evidence and reproducibility. |
| Software owner | Maintains Laravel-Python contract, tests, configuration, secure execution, and logging. | Implementation correctness. |
| Privacy/security owner | Oversees lawful processing, access controls, retention, incident handling, and security review. | Privacy and cybersecurity acceptance. |
| Clinic user representative | Validates usability, workflow fit, training, and real-world burden. | Representation of intended users. |
| Independent reviewer | Challenges assumptions, verifies evidence, and records unresolved concerns. | Independent sign-off where required. |

# 11.3 Lifecycle Governance Model

| Govern | Map | Measure | Manage | Monitor | Review / Retire |
| --- | --- | --- | --- | --- | --- |

Governance is continuous across design, development, deployment, monitoring, change, and retirement. The project may use the NIST AI RMF functions as an organizing structure while tailoring controls to the limited clinic setting and the system's actual risk.

| Lifecycle Stage | Required Control |
| --- | --- |
| Govern | Define policies, roles, accountability, documentation standards, prohibited uses, and approval authorities. |
| Map | Describe context, intended users, affected patients, data sources, risks, dependencies, and foreseeable misuse. |
| Measure | Evaluate model, rules, integration, usability, bias, reliability, privacy, and security with documented uncertainty. |
| Manage | Prioritize risks, implement controls, approve or reject deployment, and maintain rollback and incident procedures. |
| Monitor | Track data quality, system failures, output distribution, overrides, referrals, subgroup indicators, and user feedback. |
| Review or retire | Revalidate after material change; suspend or retire components when evidence, support, or safety is inadequate. |

# 11.4 Model and Rule Version Governance

| Controlled Item | Version Requirement | Approval Trigger |
| --- | --- | --- |
| Training dataset | Immutable snapshot ID, provenance record, inclusion criteria, schema, and checksum. | Any added, removed, corrected, or relabeled record. |
| Preprocessing pipeline | Code version and serialized transformation objects. | Any transformation, encoding, imputation, scaling, or feature-order change. |
| Model artifact | Unique model version, checksum, algorithm, parameters, threshold, and evaluation report. | Any retraining, threshold adjustment, or artifact replacement. |
| Decision rules | Rule-set version, exact conditions, precedence, reasons, and clinical source. | Any threshold, condition, wording, or priority change. |
| Interface | Release version with screenshots and usability impact assessment. | Any change that may alter interpretation or action. |
| Integration contract | Payload and response schema version. | Any field, category, error handling, timeout, or parsing change. |

# 11.5 Change Classification and Approval

| Change Class | Examples | Required Review |
| --- | --- | --- |
| Minor | Typographical correction, nonclinical layout adjustment, log wording that does not affect meaning. | Software review, regression test, documented release note. |
| Moderate | New report, revised workflow step, new audit field, performance optimization, nonclinical schema adjustment. | System owner and software owner approval; targeted validation. |
| Major | New clinical feature, new rule, threshold change, retraining, new intended population, probability display, external data source. | Full risk assessment, clinical review, validation plan, regression testing, staged release. |
| Prohibited without new project scope | Autonomous diagnosis, ultrasound image interpretation, emergency triage replacement, unsupervised online self-assessment. | Not approved under the current intended use. |

# 11.6 Monitoring Architecture

| Monitoring Domain | Example Indicator | Action Threshold Concept |
| --- | --- | --- |
| Availability | Python invocation failures, missing model, timeouts, server errors. | Investigate repeated failures; suspend ML path if safe parsing cannot be guaranteed. |
| Data quality | Missing fields, unknown categories, out-of-range values, schema mismatch. | Escalate sudden increase or new category; preserve incomplete state. |
| Output behavior | HIGH/LOW/INCOMPLETE distribution, abrupt shifts, rule-versus-model disagreement. | Review material deviations from validated baseline. |
| Safety events | False-LOW reports, delayed referral, misunderstood output, missing urgent reason. | Immediate review; possible suspension or rollback. |
| Subgroups | Performance or outcome indicators by supported subgroup. | Investigate persistent clinically meaningful disparity. |
| Workflow | Overrides, referral acceptance/refusal, unresolved incomplete records, user complaints. | Review training, interface, or operational barriers. |
| Security/privacy | Unauthorized access, anomalous exports, failed logins, exposed secrets, missing audit events. | Activate security incident procedure. |

# 11.7 Incident Management

Detect and record the event with timestamp, reporter, affected patient/visit, software release, model version, rule version, and visible output.

Contain the risk by disabling the affected feature, reverting to a validated version, or forcing ASSESSMENT INCOMPLETE when safe operation cannot be assured.

Assess clinical impact and identify potentially affected records.

Notify responsible owners and clinic leadership according to severity.

Perform root-cause analysis across data, model, rules, software, workflow, security, and user factors.

Implement and verify corrective and preventive actions.

Document closure, residual risk, and whether revalidation or retraining is required.

# 11.8 Retraining Governance

Retraining shall be proposal-driven, not automatic. Production data must not flow directly into a new deployed model without review, curation, labeling controls, independent evaluation, and approval.

| Retraining Trigger | Required Safeguard |
| --- | --- |
| Material drift or degradation | Confirm the signal is real, clinically relevant, and not caused by logging or workflow changes. |
| New local data | Verify provenance, consent/lawful basis, data quality, labeling process, and patient-level partitioning. |
| Expanded population | Treat as a change in intended use; require representative data and subgroup validation. |
| Feature change | Update the data dictionary, preprocessing contract, model, rules, interface, and traceability. |
| Algorithm comparison | Use predefined criteria and preserve the current validated model until a replacement is approved. |
| Performance improvement claim | Demonstrate benefit on unseen data and show no unacceptable degradation in safety-sensitive subgroups. |

# 11.9 Transparency and Communication

Users shall be told the intended use, target population, required inputs, output meaning, limitations, known failure modes, and the role of human judgment.

The interface shall distinguish rule-based reasons from machine-learning contribution where feasible.

A LOW result shall be worded as decision support, not a guarantee of uncomplicated pregnancy or safe delivery.

Technical failures and missing information shall be visible through ASSESSMENT INCOMPLETE rather than hidden.

Release notes shall identify material changes to model, rules, interface, data requirements, and known limitations.

# 11.10 Privacy, Security, and Data Governance

| Control Area | Governance Requirement |
| --- | --- |
| Data minimization | Collect and process only information necessary for clinical records, decision support, audit, and approved research. |
| Access | Use role-based access and least privilege; regularly review active accounts and privileges. |
| Secrets and configuration | Keep credentials and Python/model paths out of source code where appropriate; restrict environment files. |
| Auditability | Protect logs from unauthorized alteration; define retention and access rules. |
| De-identification | Remove direct identifiers from research and model-development datasets unless specifically justified and protected. |
| Backups | Test recovery and prevent backups from becoming an uncontrolled copy of sensitive data. |
| Third parties | Review any external hosting, analytics, model service, or data transfer before adoption. |
| Incident response | Maintain procedures for confidentiality, integrity, availability, and patient-safety events. |

# 11.11 Future Improvement Roadmap

| Priority | Improvement | Safety Preconditions |
| --- | --- | --- |
| Near-term | Complete model card, automated test suite, structured JSON interface, artifact manifest, and monitoring dashboard. | No change to clinical scope; regression testing and documentation. |
| Near-term | Improve explanation display and referral workflow, including refusal documentation. | Usability validation with intended clinic staff. |
| Medium-term | Collect higher-quality local data and evaluate external or temporal validation. | Ethics/privacy approval, data governance, adequate sample size, frozen test plan. |
| Medium-term | Probability calibration or risk score display. | Validated calibration, clear communication, and proof that scores improve decisions rather than confuse users. |
| Medium-term | More robust deployment architecture such as a controlled Python service. | Authentication, transport security, monitoring, timeout/fallback behavior, and penetration review. |
| Long-term | Multi-site evaluation and broader population support. | New intended-use review, site-specific performance analysis, subgroup evidence, and governance agreements. |
| Not planned under current scope | Automated ultrasound image interpretation or autonomous diagnosis. | Would require a fundamentally different dataset, validation program, clinical expertise, and regulatory analysis. |

# 11.12 Retirement and Continuity

Retire a model or feature when it can no longer be supported, monitored, reproduced, secured, or validated.

Preserve historical auditability: old assessments must remain linked to the version that generated them.

Do not reinterpret historical outputs using a new model without an explicit, governed reprocessing project.

Provide a documented manual workflow when the ML component is unavailable.

Archive artifacts, evaluation reports, release notes, and approvals according to the project's retention policy.

# 11.13 Governance Register Template

| Item | Owner | Version | Last Review | Next Review | Status / Decision |
| --- | --- | --- | --- | --- | --- |
| Intended-use statement | Clinical owner | v1.0 | Date | Date | Approved / revise |
| Decision rules | Clinical + software owner | v1.0 | Date | Date | Approved / revise |
| Random Forest artifact | ML owner | v1.0 | Date | Date | Approved / suspend |
| Dataset snapshot | Data owner | ID | Date | Date | Approved / restricted |
| Monitoring report | System owner | Period | Date | Date | Accept / investigate |

# 11.14 Conclusion

Responsible use of the maternity CDSS depends on governance after development as much as during development. The system should evolve only through documented evidence, clear accountability, controlled change, transparent communication, and the ability to stop or roll back when safety cannot be assured.

# References

World Health Organization. (2021). Ethics and governance of artificial intelligence for health: WHO guidance.

National Institute of Standards and Technology. (2023). Artificial Intelligence Risk Management Framework (AI RMF 1.0), NIST AI 100-1.

National Institute of Standards and Technology. AI RMF Playbook and AI Resource Center.

International Medical Device Regulators Forum. (2025). Good Machine Learning Practice for Medical Device Development: Guiding Principles.

U.S. Food and Drug Administration, Health Canada, and MHRA. Transparency for Machine Learning-Enabled Medical Devices: Guiding Principles.

U.S. Food and Drug Administration, Health Canada, and MHRA. Predetermined Change Control Plans for Machine Learning-Enabled Medical Devices: Guiding Principles.