DOCUMENT 3

PART 12
COMPLETE MACHINE LEARNING ARCHITECTURE SPECIFICATION

Consolidated End-to-End Design for the Explainable Maternity Clinical Decision Support System

Development of an Explainable Clinical Decision Support System
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Architecture Specification

Laravel → Python → Random Forest → Deterministic Decision Engine

Version 1.0 | July 2026

Consolidated architecture statement The system is a hybrid, explainable clinical decision support architecture. Laravel manages authenticated workflow and clinical records; Python executes a frozen Random Forest model; a deterministic decision engine applies mandatory safety rules; and the interface presents HIGH, LOW, or ASSESSMENT INCOMPLETE with reasons and action-oriented guidance. The system supports, but never replaces, professional judgment and referral.

# 12.1 Executive Architecture Summary

| Clinical Records | Feature Contract | Python Inference | ML HIGH/LOW | Safety Rules | Final Explainable State |
| --- | --- | --- | --- | --- | --- |

The architecture deliberately separates prediction from decision. The Random Forest supplies a machine-learning prediction, but the final state is generated only after completeness checks, output validation, and deterministic clinical rules. This prevents a model LOW from overriding known risk factors and prevents technical failure or missing information from being presented as reassurance.

# 12.2 System Context

| Element | Architectural Role |
| --- | --- |
| Patient and prenatal records | Authoritative operational source for demographic, medical history, prenatal visit, birth plan, and structured ultrasound information. |
| Laravel application | Authentication, authorization, validation, workflow, controllers, persistence, UI, audit logging, and referral support. |
| Feature builder | Maps database values to the exact model input contract and preserves required categories, order, type, and missingness policy. |
| Python inference component | Loads the approved preprocessing/model artifact, performs prediction, and returns a strictly validated output. |
| Random Forest | Produces HIGH or LOW as a predictive signal based on the trained feature space. |
| Deterministic decision engine | Checks completeness, validates ML output, applies rule-based HIGH triggers, composes reasons, and generates the final state. |
| User interface | Displays state, explanations, limitations, urgent cues, referral actions, and incomplete requirements. |
| Audit and governance layer | Links every assessment to inputs, code/model/rule versions, actor, time, outcome, and operational events. |

# 12.3 Intended Use, Users, and Limitations

| Dimension | Specification |
| --- | --- |
| Purpose | Support prenatal risk recognition, documentation, and referral decisions in a lying-in clinic. |
| Users | Authorized clinic staff and midwives who understand clinic protocols and system limitations. |
| Final states | HIGH, LOW, and ASSESSMENT INCOMPLETE. No MODERATE category is used. |
| Human role | Review patient context, confirm data accuracy, act on urgent findings, communicate with the patient, and decide referral according to policy. |
| Model role | Provide one predictive input; it does not make the autonomous final clinical decision. |
| Ultrasound role | Structured findings are recorded and may trigger explicit rules; images are not interpreted by the system. |
| Prohibited interpretation | LOW is not a diagnosis, not a guarantee of safe delivery, and not permission to ignore new symptoms or professional concern. |

# 12.4 Data Architecture

The operational database is the source of truth for active clinical records and workflow state.

The model feature contract must be explicitly documented, versioned, and identical between training and inference.

Required records for a complete assessment are Medical History, Ultrasound, and Birth Plan, together with the prenatal visit information needed by the implemented assessment.

Missing required records cause ASSESSMENT INCOMPLETE; they are not silently converted into a LOW decision.

Research or training datasets must be governed separately from production records through de-identification, provenance, labeling, versioning, and patient-level partitioning.

# 12.5 Machine Learning Architecture

| Component | Specification |
| --- | --- |
| Algorithm | Random Forest classifier selected for robust nonlinear classification, mixed feature relationships, and compatibility with tabular clinical data. |
| Training | Performed outside the live request path using a versioned, reproducible pipeline and immutable dataset snapshot. |
| Output | Only exact HIGH or LOW values are valid predictive states. Error-like or unknown text is invalid. |
| Threshold | Documented and frozen with the model release; changes require evaluation and approval. |
| Serialization | Model and preprocessing artifacts are packaged with a manifest, checksum, software versions, feature schema, and evaluation report. |
| Explainability | Global evaluation supports development; patient-level displayed reasons primarily come from deterministic rules and the traceable decision path. |
| Updates | No uncontrolled online learning. Retraining is governed, independently evaluated, versioned, and manually approved. |

# 12.6 Deterministic Decision Logic

Core precedence rule Completeness and validity are evaluated before LOW can be emitted. Any configured rule-based HIGH factor overrides a model LOW. A valid model HIGH also produces final HIGH.

| Order | Decision Condition | Final Result |
| --- | --- | --- |
| 1 | One or more required records are missing. | ASSESSMENT INCOMPLETE |
| 2 | Python/model invocation fails or ML output is not exactly HIGH or LOW. | ASSESSMENT INCOMPLETE |
| 3 | Any deterministic HIGH rule is triggered. | HIGH |
| 4 | No rule is triggered and ML output is HIGH. | HIGH |
| 5 | All required records exist, ML is valid LOW, and no HIGH rule is triggered. | LOW |

# 12.7 Implemented Rule Matrix

| Risk Factor | Condition | Decision Effect |
| --- | --- | --- |
| Young maternal age | Age below 19. | HIGH |
| Advanced age with first pregnancy | Age at least 35 and first pregnancy. | HIGH |
| Elevated blood pressure | Systolic at least 140 or diastolic at least 90. | HIGH |
| Urgent blood pressure | Systolic at least 160 or diastolic at least 110. | HIGH with urgent reason |
| Diabetes or anemia | Recorded as present. | HIGH |
| Previous cesarean section | Recorded previous CS. | HIGH |
| Recurrent miscarriage | Miscarriage count at least 3. | HIGH |
| Non-cephalic presentation | Breech, transverse, or oblique. | HIGH |
| Abnormal amniotic fluid | Low or high. | HIGH |
| Abnormal fetal heartbeat | Weak, abnormal, or absent. | HIGH |
| Model signal | Valid ML output HIGH. | HIGH |

# 12.8 End-to-End Runtime Sequence

An authorized user creates or updates the relevant patient, prenatal visit, medical history, birth plan, or ultrasound record.

Laravel validates input, enforces delivered-patient restrictions, and saves the clinical record.

The assessment service gathers the latest required data and checks completeness.

If required information is missing, the final state becomes ASSESSMENT INCOMPLETE and the missing requirements are identified.

If complete, Laravel constructs the versioned feature payload and securely invokes the configured Python runtime.

Python loads the approved preprocessing/model artifact, validates the feature schema, performs inference, and emits the allowed result.

Laravel rejects any output that is not exactly HIGH or LOW or that contains evidence of an error.

The deterministic decision engine applies rule precedence, generates reasons, and returns HIGH, LOW, or ASSESSMENT INCOMPLETE.

The result, recommendation, reasons, model/rule versions, and audit information are persisted or logged according to the implementation.

The interface displays the result to the user and enables appropriate referral or follow-up workflow.

# 12.9 Output and Explanation Contract

| Final State | Meaning | Minimum User-Facing Content |
| --- | --- | --- |
| HIGH | At least one deterministic risk factor or a valid ML HIGH signal is present. | Visible HIGH badge, all applicable reasons, safe referral/escalation wording, and urgent emphasis when applicable. |
| LOW | Assessment is complete, ML output is valid LOW, and no configured HIGH rule is present. | LOW badge, cautious wording, reminder that new symptoms or professional concern require reassessment. |
| ASSESSMENT INCOMPLETE | Required information is missing or the ML component is invalid/unavailable. | Neutral badge, missing/failed components, instruction to complete records or resolve the technical issue; no false reassurance. |

# 12.10 Laravel-Python Interface Contract

| Contract Area | Requirement |
| --- | --- |
| Invocation | Use a configured Python executable and script path; construct commands safely and avoid uncontrolled shell input. |
| Input | Provide only the documented feature schema with stable names/order/types and validated values. |
| Output | Prefer a small structured response. Regardless of format, accept only the defined prediction values and explicit status. |
| Timeout | A timeout is a technical failure and must lead to ASSESSMENT INCOMPLETE, not LOW. |
| Logging | Store technical diagnostics separately from user-facing clinical language; avoid exposing sensitive paths or stack traces. |
| Versioning | Record model, preprocessing, feature schema, rule set, and application release versions. |
| Recalculation | Reassess incomplete or affected visits after relevant record creation or update. |

# 12.11 Safety Architecture

Fail-safe incomplete state for missing information, invalid model output, or technical failure.

Rule-based HIGH precedence over model LOW.

Urgent distinction for severe blood pressure findings.

Human oversight and visible limitations at the point of use.

Referral support appropriate to a clinic that cannot manage serious cases.

Documented referral refusal or waiver workflow where applicable to clinic policy.

Read-only historical pregnancy after delivery and creation of a separate new pregnancy record.

Auditability and rollback for model, rule, integration, and interface changes.

# 12.12 Explainability Architecture

| Explanation Layer | Audience | Content |
| --- | --- | --- |
| Clinical decision explanation | Midwife / clinic user | Specific rule factors, incomplete requirements, valid ML contribution, and recommended next action. |
| Technical trace | Developer / auditor | Input mapping, preprocessing/model version, raw accepted output, rules evaluated, final precedence path, and failures. |
| Global model explanation | Research team / panel | Feature importance with limitations, performance metrics, subgroup analysis, calibration, and error review. |
| Patient communication | Patient through clinic staff | Plain-language explanation that supports informed referral or follow-up without presenting the model as a diagnosis. |

# 12.13 Security, Privacy, and Audit

| Domain | Architectural Requirement |
| --- | --- |
| Authentication and authorization | Only authorized roles access clinical records and assessment functions. |
| Data protection | Use least privilege, secure configuration, appropriate backups, and controlled data export. |
| Privacy | Minimize use, separate model-development data from operations, and de-identify research datasets. |
| Audit trail | Capture actor, time, record, action, assessment outcome, reasons, versions, and relevant failures. |
| Integrity | Protect deployed artifacts and rule configuration from unauthorized modification; verify checksums where feasible. |
| Availability | Maintain a manual workflow and safe incomplete behavior when the model component is unavailable. |

# 12.14 Verification, Validation, and Release

Verify data schema, preprocessing parity, model artifact, rule matrix, Laravel-Python parsing, failure modes, audit records, and delivered-patient restrictions.

Validate performance on an untouched test set using sensitivity, specificity, precision, NPV, F1, ROC/PR analysis, calibration, confidence intervals, and structured false-LOW review.

Evaluate clinically meaningful subgroups and exact boundary values.

Conduct scenario-based usability validation with intended users.

Require documented acceptance gates, known limitations, residual risk, rollback plan, and accountable approval before deployment.

# 12.15 Deployment and Operational Architecture

| Environment | Purpose | Control |
| --- | --- | --- |
| Development | Code and model experimentation. | Synthetic or approved de-identified data; no claim of clinical readiness. |
| Test / staging | Integration, scenario, regression, security, and usability testing. | Production-like configuration with isolated data and frozen candidate artifacts. |
| Production | Approved clinic operation. | Only signed-off versions, restricted access, monitoring, backups, and rollback. |
| Archive | Historical reproducibility and governance. | Retain artifacts, checksums, reports, release notes, and approvals under controlled access. |

# 12.16 Governance and Change Control

Every deployed dataset, preprocessing pipeline, model, rule set, interface, and integration contract has a unique version.

Material changes require risk assessment and proportionate revalidation.

Retraining is controlled and never automatically deployed from production data.

Monitoring covers failures, data quality, output distribution, rule-model disagreement, false-LOW events, referral workflow, subgroup concerns, and security incidents.

The system may be suspended or rolled back when safe operation cannot be assured.

Historical outputs remain linked to the version that produced them.

# 12.17 Consolidated Acceptance Criteria

| Criterion | Acceptance Statement |
| --- | --- |
| Completeness safety | LOW is impossible when required records are absent. |
| Technical safety | Invalid or unavailable ML output produces ASSESSMENT INCOMPLETE. |
| Clinical precedence | Any configured rule-based risk produces HIGH regardless of model LOW. |
| Traceability | The final state and displayed reasons can be reconstructed from the stored record, versions, and audit trail. |
| Usability | Intended users can distinguish all three states, understand limitations, and identify the correct next action. |
| Performance evidence | Independent evaluation and false-LOW analysis are complete and accepted. |
| Governance | Owners, monitoring, incident response, change control, and rollback are established. |
| Scope discipline | The system does not claim autonomous diagnosis or ultrasound image interpretation. |

# 12.18 Architecture Decision Record Summary

| Decision | Rationale |
| --- | --- |
| Hybrid ML plus deterministic rules | Combines pattern-based prediction with explicit safety constraints and explainable reasons. |
| Three final states | HIGH and LOW support workflow, while ASSESSMENT INCOMPLETE prevents unsafe defaulting during missing data or failure. |
| Random Forest for tabular prediction | Appropriate for the project's structured feature environment and supports reproducible offline training. |
| No MODERATE state | Keeps implementation aligned with the accepted workflow and avoids an unsupported intermediate category. |
| Ultrasound as structured record, not image AI | Matches actual capability and avoids unsupported diagnostic claims. |
| Human decision authority | Reflects ethical healthcare AI practice and the clinic's operational responsibilities. |
| Controlled retraining | Protects against unreviewed drift and preserves reproducibility and accountability. |

# 12.19 Final Statement

This complete architecture is designed to be practical, explainable, and safety-oriented for the capstone's defined lying-in clinic context. Its central safety principle is that machine learning informs the workflow but does not control it: completeness checks, deterministic rules, transparent reasons, human oversight, referral capability, validation evidence, and lifecycle governance determine whether the system may be trusted for its limited intended purpose.

# References

World Health Organization. (2021). Ethics and governance of artificial intelligence for health: WHO guidance.

National Institute of Standards and Technology. (2023). Artificial Intelligence Risk Management Framework (AI RMF 1.0), NIST AI 100-1.

International Medical Device Regulators Forum. (2025). Good Machine Learning Practice for Medical Device Development: Guiding Principles.

U.S. Food and Drug Administration, Health Canada, and MHRA. (2024). Transparency for Machine Learning-Enabled Medical Devices: Guiding Principles.

U.S. Food and Drug Administration, Health Canada, and MHRA. Predetermined Change Control Plans for Machine Learning-Enabled Medical Devices: Guiding Principles.

scikit-learn developers. RandomForestClassifier documentation and model evaluation guidance.