DOCUMENT 4

# Clinical Evidence Specification

PART 3

# Diabetes Mellitus in Pregnancy

Pregestational Type 1 Diabetes, Pregestational Type 2 Diabetes,
and Gestational Diabetes Mellitus

Clinical rule documented in this chapter A recorded history or confirmed diagnosis of diabetes during the current pregnancy is treated by the project CDSS as a deterministic HIGH-risk factor. The rule supports referral and enhanced assessment in a Philippine lying-in clinic. It does not diagnose diabetes, classify its type, interpret laboratory values, prescribe treatment, or determine suitability for delivery.

Capstone Project

Development of an Explainable Clinical Decision Support System (CDSS)
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Rewritten evidence specification | July 2026

# Executive Summary

Diabetes in pregnancy includes diabetes that was present before conception and hyperglycaemia first identified during pregnancy. The clinical implications differ by diabetes type, timing, degree of glycaemic control, maternal complications, fetal growth, medication use, and access to specialist care. Nevertheless, major international guidance consistently treats diabetes in pregnancy as requiring more intensive monitoring and coordinated care than routine low-risk antenatal care.

For this project, a recorded diabetes indicator triggers the deterministic result HIGH. This is a conservative referral-support decision designed for a lying-in clinic whose normal scope is uncomplicated pregnancy and childbirth. The system does not attempt to diagnose gestational diabetes, distinguish type 1 from type 2 diabetes, assess glycaemic control, or recommend insulin or oral medication. Those functions require laboratory data and qualified clinical management that are outside the implemented dataset and outside the intended role of the CDSS.

Core academic distinction Guidelines support intensified, multidisciplinary management of diabetes in pregnancy. The exact software rule 'diabetes present = HIGH' is a project safety configuration derived from that evidence and from the limited capability of a lying-in clinic. It is not presented as a verbatim WHO, NICE, or ACOG classification rule.

# 1. Purpose and Scope

This chapter documents the evidence, safety rationale, implementation boundaries, explainability requirements, and validation criteria for the diabetes-related deterministic rule in the maternity CDSS.

| In scope | Outside scope |
| --- | --- |
| Recognizing a recorded diabetes history or confirmed diagnosis as a factor requiring higher-level assessment. | Diagnosing diabetes from symptoms, capillary glucose, fasting glucose, HbA1c, or oral glucose tolerance testing. |
| Providing a transparent HIGH-risk explanation and referral-oriented recommendation. | Selecting medication, insulin dose, diet prescription, glucose target, timing of birth, or mode of delivery. |
| Supporting auditability and consistent application of the rule. | Replacing an obstetrician, physician, endocrinologist, laboratory, or emergency assessment. |
| Identifying incomplete or ambiguous records for correction. | Assuming that all patients with diabetes have the same severity or the same delivery plan. |

# 2. Implemented Project Rule

| Rule ID | Input condition | CDSS output | System meaning |
| --- | --- | --- | --- |
| DM-01 | Medical history indicates diabetes is present. | HIGH | Enhanced clinical assessment and referral planning are required. |
| DM-00 | Medical history indicates diabetes is absent and no other HIGH factor exists. | No diabetes-based override | Final result remains dependent on the other deterministic rules, required records, and valid ML output. |
| DM-INC | Diabetes field is missing, unknown, contradictory, or medical history is unavailable. | ASSESSMENT INCOMPLETE | Do not infer absence. Correct or complete the record before relying on the assessment. |

Boolean input limitation The current implementation records diabetes as a yes/no medical-history factor. It does not capture diabetes type, date of diagnosis, glucose measurements, medication, HbA1c, complications, or degree of control. Therefore, the CDSS can only identify the presence of a major risk factor; it cannot stratify severity.

# 3. Clinical Background

## 3.1 Forms of diabetes relevant to pregnancy

| Clinical category | Meaning | Why it matters to the CDSS |
| --- | --- | --- |
| Pregestational type 1 diabetes | Autoimmune diabetes requiring insulin, present before pregnancy. | Pregnancy requires specialist planning, frequent monitoring, and management of maternal and fetal complications. |
| Pregestational type 2 diabetes | Diabetes characterized mainly by insulin resistance, present before pregnancy. | Medication review, glycaemic optimization, complication assessment, and coordinated obstetric-diabetes care may be needed. |
| Gestational diabetes mellitus (GDM) | Hyperglycaemia first detected during pregnancy that does not meet criteria for overt diabetes outside pregnancy. | Even when discovered during pregnancy, it requires glucose management, fetal surveillance decisions, and postpartum follow-up. |
| Overt diabetes first recognized in pregnancy | Glucose values meet non-pregnancy diagnostic criteria but the condition is first identified during pregnancy. | This is not equivalent to uncomplicated GDM and requires appropriate medical evaluation. |

ACOG explains that diabetes present before pregnancy is termed pregestational diabetes, while gestational diabetes develops for the first time during pregnancy and requires special care during and after pregnancy [3,4]. NICE similarly separates pre-existing diabetes from gestational diabetes and provides distinct recommendations across preconception, antenatal, intrapartum, and postnatal care [2].

## 3.2 Why diabetes changes pregnancy risk

Maternal hyperglycaemia can increase the likelihood of fetal overgrowth, birth trauma, operative delivery, neonatal hypoglycaemia, hypertensive disorders, and other complications.

Poor glycaemic control before conception and early in pregnancy is associated with miscarriage, congenital malformation, stillbirth, and neonatal death; good control reduces but does not eliminate these risks.

Pregestational diabetes can coexist with nephropathy, retinopathy, vascular disease, hypertension, or other conditions that influence pregnancy management.

GDM may resolve after birth, but it signals increased future risk of type 2 diabetes and requires postpartum testing and long-term follow-up.

The appropriate treatment and delivery plan depend on clinical details that are not represented by a simple yes/no history field.

# 4. Evidence Review

## 4.1 World Health Organization

The 2025 WHO guideline on care for women with diabetes during pregnancy states that these women require intensified treatment and monitoring. Its recommendations cover individualized dietary and physical-activity advice, glucose monitoring, pharmacologic treatment when needed, multidisciplinary care, and follow-up across pregnancy and the postnatal period [1].

This supports the project's conclusion that diabetes is incompatible with an automatic low-risk pathway in a clinic designed primarily for uncomplicated pregnancies. WHO does not prescribe the project's software label HIGH; the label is a local implementation choice used to direct attention and referral.

## 4.2 NICE NG3

NICE NG3 advises that good blood glucose control before conception and throughout pregnancy reduces the risks of miscarriage, congenital malformation, stillbirth, and neonatal death, while acknowledging that risk cannot be eliminated [2]. The guideline also addresses monitoring, retinal and renal assessment, individualized targets, medication, fetal growth surveillance, birth planning, neonatal care, and postpartum testing.

The breadth of NICE recommendations demonstrates that diabetes in pregnancy generally requires resources and expertise beyond routine lying-in care. The project therefore uses diabetes as a deterministic HIGH-risk factor rather than attempting to reproduce specialist management.

## 4.3 American College of Obstetricians and Gynecologists

ACOG's patient guidance distinguishes pregestational diabetes from gestational diabetes and explains that both can affect pregnancy outcomes. For GDM, ACOG notes risks related to excessive fetal growth, difficult labour, cesarean birth, and maternal birth injury, and stresses special care during and after pregnancy [3]. For type 1 or type 2 diabetes present before pregnancy, ACOG emphasizes the importance of management before and during pregnancy and the increased risk of complications when diabetes is not well controlled [4].

## 4.4 International burden and regional relevance

The International Diabetes Federation reports that hyperglycaemia affects roughly one in five live births globally and that gestational diabetes accounts for a substantial proportion of those cases. The estimated prevalence of GDM in South-East Asia is among the highest regional estimates, supporting the relevance of a reliable referral-oriented rule in the Philippine setting [5].

# 5. Guideline-to-System Comparison

| Source | What the source supports | What the project implements | What the project must not claim |
| --- | --- | --- | --- |
| WHO 2025 | Intensified monitoring, individualized management, medication where indicated, and coordinated care. | Diabetes present triggers HIGH and referral-oriented messaging. | That WHO defines a software category called HIGH or mandates this exact binary rule. |
| NICE NG3 | Diabetes-specific care from preconception through postpartum; glycaemic control reduces adverse outcomes. | The CDSS avoids LOW when diabetes is recorded. | That the CDSS can deliver NICE-compliant diabetes management without glucose and specialist data. |
| ACOG | Both GDM and pregestational diabetes need special care and may increase maternal and neonatal complications. | The result explains diabetes as a major maternal risk factor. | That a yes/no field establishes diagnosis, severity, treatment, or delivery timing. |
| IDF | Hyperglycaemia in pregnancy is common globally and regionally. | Supports public-health relevance and screening awareness. | That prevalence estimates prove an individual patient's diagnosis. |

# 6. Philippine Lying-in Clinic Context

The CDSS is intended for a Philippine lying-in clinic, where routine services are generally centered on low-risk maternity care and are commonly led by midwives. A patient with known diabetes may require laboratory monitoring, medication adjustment, physician oversight, fetal growth assessment, neonatal preparation, and decisions about timing and place of birth. These capabilities may not be consistently available in a small lying-in facility.

Philippine DOH facilities publicly emphasize blood-sugar screening, proper nutrition, and adherence to medical advice for gestational diabetes, while national demographic data show that access to skilled antenatal care is not universal across all regions [6,7]. The system's referral orientation is therefore intended to reduce the risk that a medically complex pregnancy is treated as routine merely because the patient appears clinically stable at one visit.

Scope-of-facility rationale The HIGH result is not a prediction that harm will occur. It is a safety signal that the pregnancy may exceed the intended capability of an uncomplicated-birth facility and should receive qualified review and an appropriate referral or co-management plan.

# 7. Clinical Justification for the Deterministic HIGH Rule

| Justification | Reasoning |
| --- | --- |
| Clinical complexity | Diabetes management depends on glucose values, diabetes type, treatment, complications, fetal growth, gestational age, and response to therapy. |
| Potential for serious adverse outcomes | Maternal and neonatal risks can increase when hyperglycaemia is unrecognized or inadequately controlled. |
| Limited project data | A binary history field cannot establish control, severity, or suitability for birth at the lying-in clinic. |
| Limited facility capability | The intended setting may not provide specialist diabetes care, emergency operative delivery, advanced neonatal support, or continuous laboratory monitoring. |
| Explainable safety behavior | A deterministic override ensures that a known major condition cannot be hidden by a LOW machine-learning prediction. |
| Human decision preserved | The software prompts assessment and referral; qualified clinicians retain responsibility for diagnosis, treatment, and delivery planning. |

# 8. CDSS Decision Logic and Precedence

The diabetes rule is a deterministic clinical safety override. It should be evaluated independently of the Random Forest output. When diabetes is recorded as present, the final result is HIGH even if the ML component returns LOW.

| Medical history | Diabetes field | ML output | Other HIGH rule | Expected final result |
| --- | --- | --- | --- | --- |
| Present | Yes | LOW | No | HIGH |
| Present | Yes | HIGH | No | HIGH |
| Present | Yes | Invalid | No | HIGH, while also recording ML failure |
| Present | No | LOW | No | LOW only when every required record is complete and all other rules are negative |
| Present | No | HIGH | No | HIGH |
| Missing | Unknown | Any | No | ASSESSMENT INCOMPLETE |
| Present | Contradictory/blank | Any | No | ASSESSMENT INCOMPLETE |
| Present | No | LOW | Yes | HIGH |

Safety precedence A valid deterministic HIGH factor overrides ML. Missing required data prevents LOW. ML is supportive, not authoritative, and must never cancel a documented diabetes risk factor.

# 9. Implementation Traceability

| Layer | Expected implementation | Safety requirement |
| --- | --- | --- |
| Data capture | Medical-history form stores a clearly labelled diabetes value. | Use an explicit Yes/No/Unknown design where possible; do not silently convert blank to No. |
| Controller/service logic | When diabetes is true, append a diabetes risk reason and force final risk to HIGH. | Use strict boolean normalization and guard against strings such as 'No' being treated as truthy. |
| ML integration | ML may return HIGH or LOW only when valid. | The diabetes override remains effective regardless of ML result. |
| Patient profile | Display HIGH badge and a plain-language reason. | Do not display a diagnosis date, severity, or treatment that was not recorded. |
| Referral workflow | Enable referral planning to an appropriate physician or hospital. | Do not imply that creating a referral proves transfer or acceptance. |
| Audit trail | Record the input value, rule ID DM-01, final result, user, and timestamp. | Changes to diabetes history should trigger recalculation and preserve audit history. |
| Delivered record | Historical pregnancy becomes read-only after delivery. | Do not rewrite the prior assessment when a new pregnancy is created. |

# 10. Explainability Requirements

The explanation must state the recorded factor, the system action, and the boundary of the system. It should not frighten the patient, present certainty of harm, or imply a confirmed diagnosis when the entry is based only on history.

| Context | Approved wording |
| --- | --- |
| Concise risk reason | Diabetes was recorded in the patient's medical history. Diabetes in pregnancy requires enhanced assessment and may need specialist or hospital-based management. |
| HIGH recommendation | Arrange prompt review and referral or co-management with an appropriate physician or hospital. Continue safe antenatal care while following the receiving clinician's plan. |
| Patient-facing explanation | Your record shows diabetes during this pregnancy. This does not mean a complication will definitely happen, but additional monitoring can help protect you and your baby. |
| Incomplete record | The diabetes information is missing or unclear. Confirm the medical history before relying on the risk assessment. |
| System limitation | This result supports referral decisions. It does not diagnose diabetes, evaluate blood-sugar control, or prescribe treatment. |

# 11. Recommendation Mapping

| System state | Recommended CDSS action | Actions excluded from the CDSS |
| --- | --- | --- |
| Diabetes present / HIGH | Prompt timely clinical review; prepare referral or co-management; verify current treatment and available records; educate on warning signs and continuity of care. | Changing medication, advising insulin dose, setting glucose targets, or deciding delivery date. |
| Diabetes absent | Continue evaluation of every other rule and required record. | Treating a single negative history response as proof that GDM has been screened out. |
| Unknown or missing | Mark assessment incomplete and request clarification or appropriate clinical testing through the healthcare team. | Inferring No or generating a LOW result. |
| Patient declines referral | Document counseling, reason for referral, patient's decision, escalation advice, and clinic policy; obtain required acknowledgment or waiver under approved governance. | Using a waiver to declare the pregnancy clinically low risk or to remove the HIGH result. |

# 12. Clinical Limitations and Failure Modes

| Limitation or failure mode | Potential harm | Required control |
| --- | --- | --- |
| Diabetes entered as a simple boolean | The system cannot distinguish diet-controlled GDM from complicated pregestational diabetes. | Use HIGH as a broad safety signal and avoid severity claims. |
| Blank converted to No | A patient with unverified history could be misclassified LOW. | Use Unknown/Incomplete and require confirmation. |
| Outdated medical history | Current pregnancy may differ from prior records. | Reconfirm at relevant visits and recalculate after updates. |
| Self-reported diagnosis without records | History may be inaccurate or misunderstood. | Show 'recorded history' wording and arrange clinical verification. |
| Normal glucose value interpreted as no diabetes | One measurement may not exclude GDM or established diabetes. | Do not make diagnostic decisions from isolated values. |
| ML returns LOW | Users may assume ML cancels the diabetes risk. | Deterministic override must have higher precedence. |
| Referral created but not completed | False reassurance that the patient has reached higher-level care. | Track referral status and unresolved follow-up. |
| Patient refusal | Delay in appropriate assessment or transfer. | Document counseling and maintain HIGH classification. |

# 13. Validation Matrix

| Test ID | Input scenario | Expected output | Expected explanation/control |
| --- | --- | --- | --- |
| DM-T01 | Diabetes = Yes; ML = LOW; all records complete. | HIGH | DM-01 listed as deterministic reason. |
| DM-T02 | Diabetes = Yes; ML = HIGH. | HIGH | Do not duplicate or exaggerate reasons. |
| DM-T03 | Diabetes = Yes; ML service unavailable. | HIGH | Diabetes override retained; ML failure logged. |
| DM-T04 | Diabetes = No; ML = LOW; no other factors; all records complete. | LOW | No diabetes reason displayed. |
| DM-T05 | Diabetes = No; ML = LOW; BP = 140/90. | HIGH | Hypertension rule shown, not diabetes. |
| DM-T06 | Diabetes field blank. | ASSESSMENT INCOMPLETE | Prompt confirmation; do not default to No. |
| DM-T07 | Medical-history record missing. | ASSESSMENT INCOMPLETE | Identify missing medical history. |
| DM-T08 | Database stores string '0'. | No diabetes override | Strict normalization confirms false. |
| DM-T09 | Database stores string '1'. | HIGH | Strict normalization confirms true. |
| DM-T10 | Display says diabetes Yes, database says No. | Fail validation / investigate | UI-data consistency test must detect mismatch. |
| DM-T11 | Diabetes changed from No to Yes after visit. | Recalculated HIGH | Audit records previous/new value and rule activation. |
| DM-T12 | Diabetes changed from Yes to No. | Recalculate from all evidence | Preserve audit record; do not automatically force LOW. |
| DM-T13 | Delivered pregnancy record opened for editing. | Blocked | Historical assessment remains read-only. |
| DM-T14 | New pregnancy created for previously delivered patient. | Fresh assessment | Do not inherit diabetes value without reconfirmation. |
| DM-T15 | Patient declines referral. | HIGH remains | Record refusal/waiver; no risk downgrade. |

# 14. Clinical Governance Requirements

Have the diabetes rule, explanation text, and referral workflow reviewed by a qualified obstetric clinician familiar with the clinic's actual scope and referral network.

Define who may enter or modify the diabetes field, what evidence is acceptable, and when the history must be reconfirmed.

Use an explicit Unknown option or equivalent incomplete-state handling instead of allowing blank data to behave as No.

Ensure the system records rule version, ML version, inputs, reasons, result, user, and timestamp for every assessment.

Define escalation procedures for symptoms, abnormal glucose results, or deteriorating condition; emergency care must never wait for software reassessment.

Periodically review false negatives, referral completion, patient refusal, and discrepancies between system records and clinical documentation.

Do not deploy medication advice or glucose-target logic without a separate evidence review, complete clinical data, and formal clinical governance approval.

Update this chapter when the implemented rule, medical-history fields, guideline evidence, or clinic capability changes.

# 15. Panel Defense Questions and Model Answers

Q: Why does any recorded diabetes produce HIGH?

A: Because diabetes in pregnancy may require intensified monitoring, glucose management, fetal assessment, medication review, and coordinated care. The intended lying-in clinic is designed for uncomplicated pregnancies and the current data cannot stratify severity safely. HIGH therefore means higher-level assessment is needed, not that harm is certain.

Q: Does WHO explicitly say that diabetes must be labelled HIGH?

A: No. WHO recommends intensified care and monitoring. HIGH is the project's transparent safety category used to operationalize that evidence within the clinic's limited scope.

Q: Can the system diagnose gestational diabetes?

A: No. The implemented rule uses a recorded medical-history indicator. Diagnosis requires appropriate laboratory testing and clinical interpretation, which are outside the current CDSS.

Q: Why not let the Random Forest decide?

A: A known major clinical condition should not be cancelled by a probabilistic model. Deterministic rules provide predictable safety behavior and a clear explanation.

Q: What happens if the patient has well-controlled GDM?

A: The current binary model still returns HIGH because it lacks control, treatment, fetal-growth, and specialist-plan data. A future validated version could support more detailed stratification, but the present system must remain conservative.

Q: Does HIGH mean the patient cannot deliver in the lying-in clinic?

A: The software does not make the final place-of-birth decision. HIGH prompts qualified assessment and referral or co-management. The receiving clinician and clinic governance determine the safe plan.

Q: What if the patient refuses referral?

A: The result remains HIGH. Counseling and refusal are documented, appropriate escalation advice is given, and clinic policy is followed. A waiver does not remove clinical risk.

Q: How do you prevent a blank diabetes field from becoming LOW?

A: Missing or unclear data produce ASSESSMENT INCOMPLETE. LOW is allowed only when required records are complete, ML output is valid LOW, and no deterministic HIGH factor is present.

Q: Why is this explainable?

A: The interface identifies the exact recorded factor, rule ID, resulting category, and recommended action. Users can see that the rule—not an unexplained model score—caused the HIGH result.

Q: What is the main limitation?

A: The field is binary and may be self-reported. The system cannot distinguish type, timing, control, complications, or treatment, so it must not offer diagnostic or therapeutic conclusions.

# 16. Final Rule Statement

Approved specification When the patient's current medical history records diabetes as present, the CDSS shall activate rule DM-01 and classify the assessment as HIGH, regardless of a LOW ML output. The interface shall explain that diabetes in pregnancy requires enhanced clinical assessment and may require specialist or hospital-based management. The system shall recommend prompt review and referral or co-management, while clearly stating that it does not diagnose diabetes, assess glycaemic control, prescribe treatment, or determine the final delivery plan. Missing or ambiguous diabetes information shall prevent LOW and produce ASSESSMENT INCOMPLETE.

# 17. References

The references below use official guideline or institutional pages wherever publicly available. Accessed July 2026. URLs are clickable for verification.

[1] World Health Organization. WHO recommendations on care for women with diabetes during pregnancy. 2025. https://www.who.int/publications/i/item/9789240117044

[2] National Institute for Health and Care Excellence. Diabetes in pregnancy: management from preconception to the postnatal period (NICE guideline NG3). 2015, updated 2020. https://www.nice.org.uk/guidance/ng3/chapter/recommendations

[3] American College of Obstetricians and Gynecologists. Gestational Diabetes: Frequently Asked Questions. reviewed 2026. https://www.acog.org/womens-health/faqs/gestational-diabetes

[4] American College of Obstetricians and Gynecologists. Pregnancy With Type 1 or Type 2 Diabetes: Frequently Asked Questions. current online edition. https://www.acog.org/womens-health/faqs/pregnancy-with-type-1-or-type-2-diabetes

[5] International Diabetes Federation. Prevalence of gestational diabetes mellitus: IDF Diabetes Atlas. 2024 data. https://diabetesatlas.org/data-by-indicator/hyperglycaemia-in-pregnancy-hip-20-49-y/prevalence-of-gestational-diabetes-mellitus-gdm/

[6] Cotabato Regional and Medical Center, Department of Health. CRMC celebrates National Buntis Day 2026 to promote safe motherhood. 2026. https://www.crmc.doh.gov.ph/34-press-release/1873-crmc-celebrates-national-buntis-day-2026-to-promote-safe-motherhood

[7] Philippine Statistics Authority. 2022 National Demographic and Health Survey key indicators: maternal care and child health. 2023. https://rssocar.psa.gov.ph/content/2022-national-demographic-and-health-survey-ndhs-key-indicators-maternal-care-and-child

[8] World Health Organization. Diabetes fact sheet. 2024. https://www.who.int/news-room/fact-sheets/detail/diabetes

[9] WHO Philippines, DOH, UNDP and UNIATF. Investment in noncommunicable disease prevention and control in the Philippines. 2019. https://www.who.int/philippines/news/detail/29-10-2019-investment-in-noncommunicable-diseases-prevention-and-control-will-save-lives-and-contribute-to-the-philippines-saving-up-to-4.8-of-annual-gdp

# Appendix A. Rule-to-Evidence Traceability

| Rule element | Evidence basis | Classification of statement |
| --- | --- | --- |
| Diabetes in pregnancy requires additional monitoring and management. | WHO 2025; NICE NG3; ACOG. | Guideline-supported clinical statement. |
| Diabetes can increase maternal and neonatal complications. | NICE NG3; ACOG. | Guideline-supported clinical statement. |
| Diabetes present = HIGH. | Derived from guideline evidence plus lying-in clinic scope and limited project data. | Project design decision. |
| Deterministic rule overrides LOW ML output. | Safety engineering and explainability design. | Project governance decision. |
| HIGH prompts referral or co-management. | Need for intensified/multidisciplinary care and local facility limitations. | Evidence-informed implementation decision. |
| The CDSS does not diagnose or prescribe. | System dataset and intended-use limitation. | Project safety boundary. |
| Missing diabetes data prevents LOW. | Data-quality and false-negative prevention. | Project safety control. |

# Appendix B. Minimum Data Recommended for Future Versions

The following fields could support more clinically meaningful stratification in a future version, but should only be added with clinical governance, privacy review, validated logic, and appropriate user training:

Diabetes category: type 1, type 2, gestational diabetes, overt diabetes first recognized in pregnancy, or uncertain.

Source and date of diagnosis; laboratory confirmation and relevant test values.

Current medication and insulin use, without allowing the CDSS to independently alter therapy.

Recent glucose-monitoring summary and clinician-assessed degree of control.

HbA1c where clinically appropriate and interpreted by the healthcare team.

Diabetes complications such as nephropathy, retinopathy, vascular disease, or severe hypoglycaemia.

Specialist review date, management plan, recommended place of birth, and referral status.

Fetal growth findings and other obstetric factors used by qualified clinicians.

Future-development warning Adding more data does not automatically justify more autonomous decision-making. Any severity tiers, medication recommendations, or delivery-planning logic would require a new evidence specification, clinician approval, software validation, and prospective safety monitoring.