DOCUMENT 6

# Clinical Decision Support System Implementation Guide

PART 12

# Complete CDSS Implementation Guide

Authoritative End-to-End Architecture, Clinical Workflow, Hybrid Decision Logic,
Traceability, Deployment, Validation, Maintenance, and Readiness Specification

Purpose of this final part Part 12 consolidates Document 6 Parts 1–11 into a single implementation specification. It defines the complete technical and clinical lifecycle of the explainable maternity CDSS, identifies the boundaries that must not be crossed, and provides an implementation baseline that can be traced to the clinical knowledge, decision-engine, machine-learning, evidence, and risk frameworks established in Documents 0–5.

Capstone Project

Development of an Explainable Clinical Decision Support System (CDSS)
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Final authoritative implementation synthesis | July 2026

# Clinical and Engineering Safety Statement

The implementation supports—not replaces—clinical judgment This system is a clinical decision support and documentation tool for a lying-in clinic. It does not diagnose, prescribe, interpret images autonomously, guarantee outcomes, replace qualified assessment, or expand the clinic’s legal and clinical scope. A HIGH result means that a documented factor requires heightened attention and appropriate referral/escalation. LOW means that no configured HIGH factor was detected under complete and valid assessment conditions; it never means “no risk.” ASSESSMENT INCOMPLETE means that the system lacks required evidence or valid ML output and therefore shall not produce false reassurance.

# Executive Summary

The implementation is a modular, human-supervised, explainable hybrid CDSS built around a Laravel web application, a relational database, deterministic clinical rules, a Python Random Forest inference component, and an explanation/recommendation layer. The system accepts structured maternity records, verifies completeness and validity, evaluates rule-based factors, requests a bounded ML prediction, resolves conflicts using safety-first precedence, stores the decision with its reasons, and supports referral, delivery, historical pregnancy, and new-pregnancy workflows.

The authoritative decision states are HIGH, LOW, and ASSESSMENT INCOMPLETE. Deterministic HIGH rules override an ML LOW result. LOW is permitted only when required clinical records are present, the ML result is valid LOW, and no rule-based HIGH factor exists. Invalid, missing, malformed, or error-like ML output cannot be silently converted to LOW. Urgent findings remain visible as urgent reasons within the HIGH pathway and require clear action language appropriate to the clinic’s scope.

This final part integrates architecture, workflow, data contracts, security, auditability, explainability, deployment, verification, maintenance, and governance into one baseline. It intentionally separates the implemented capstone scope from future production maturity. Before real clinical deployment, the system would require local policy approval, qualified clinical validation, privacy and security acceptance, user training, operational ownership, monitored pilot use, and continuing governance.

# 1. Purpose, Scope, and Authoritative Boundaries

| Area | Included in this implementation guide | Explicit boundary |
| --- | --- | --- |
| Clinical support | Structured risk screening, risk-state resolution, factor explanations, safe recommendations, referral support and reassessment. | No autonomous diagnosis, treatment order, emergency dispatch or replacement of clinician judgment. |
| Users | Authorized clinic personnel such as midwife and administrator, with role-appropriate functions. | No unrestricted patient, public or third-party access to clinical records. |
| Clinical setting | Philippine lying-in clinic workflow, prenatal records, referral and completed pregnancy history. | No claim that the clinic can manage conditions outside its licensed capability. |
| Machine learning | Bounded Random Forest contribution using approved structured features and exact output contract. | No online learning, self-modifying thresholds, image interpretation or unexplained probability-as-certainty. |
| Ultrasound | Structured recording of documented findings used only where an approved rule references a field. | The system does not perform ultrasound or interpret images. |
| Lifecycle | Design, implementation, deployment, V&V, maintenance, incident learning and retirement. | Production use is not established merely by successful software execution. |

Authoritative implementation principle When this synthesis and a lower-level implementation note appear inconsistent, the clinically safer interpretation governs until the inconsistency is formally reviewed. Historical results must remain reconstructable using the versions effective at the time of assessment.

# 2. Document 6 Consolidated Part Map

| Part | Implementation concern | Output carried into Part 12 |
| --- | --- | --- |
| 1 | System architecture and guiding principles | Module boundaries, trust boundaries, responsibility separation and end-to-end topology. |
| 2 | Decision engine implementation | Validation, rule processing, ML invocation, precedence, final-state resolution and recommendation generation. |
| 3 | Clinical workflow implementation | Patient, pregnancy, prenatal visit, records, referral, delivery and new-pregnancy lifecycle. |
| 4 | Laravel backend implementation | Controllers/services/models/validation/authorization/audit separation. |
| 5 | Python ML implementation | Feature contract, deterministic preprocessing, inference, output validation and failure behavior. |
| 6 | Database implementation | Entities, relationships, constraints, migrations, snapshots and historical integrity. |
| 7 | Explainability implementation | Reason generation, evidence linkage, user-facing wording and audit trace. |
| 8 | Integration architecture | Laravel–Python boundary, timeouts, error handling, security and observability. |
| 9 | Deployment guide | Environment controls, release gates, backup, monitoring, continuity and rollback. |
| 10 | Verification and validation | Traceability, clinical/software/ML testing, acceptance evidence and release blockers. |
| 11 | Maintenance and evolution | Controlled change, revalidation, monitoring, CAPA, versioning and retirement. |
| 12 | Complete implementation guide | Unified authoritative architecture and readiness baseline. |

# 3. Complete Architecture Overview

Authorized User and Browser Interface

↓

Laravel Application: Authentication • Authorization • Validation • Workflow Coordination

↓

Clinical Decision Service: Completeness Gate • Rule Engine • ML Adapter • Resolver • Explanation

↓

Python Random Forest Inference: Approved Feature Contract • Validated Artifact • Exact LOW/HIGH Output

↓

Relational Persistence: Patient • Pregnancy • Visits • Clinical Records • Assessments • Referrals • Audit

↓

Operational Controls: Logging • Monitoring • Backup • Deployment • V&V • Maintenance • Governance

The browser shall never call the Python model directly; Laravel remains the controlled application boundary.

Controllers should coordinate HTTP concerns and delegate clinical decision behavior to a dedicated service or equivalent centralized implementation.

The deterministic rule engine and ML adapter are separate components so that rule precedence, model failure, and explanations remain testable.

The final risk state is resolved only after completeness, data validity, rules, ML validity, and conflict precedence have been evaluated.

Every safety-relevant result should be persisted with factors, missing requirements, urgent reasons, version identifiers, user and timestamp.

Operational services must not silently alter clinical results; email, queues and reporting are downstream functions.

# 4. End-to-End Clinical and System Workflow

| Step | Required implementation behavior |
| --- | --- |
| 1. Register or locate patient | Create/find the person record using controlled identifiers; avoid duplicate patients where possible. |
| 2. Establish pregnancy episode | Create one active pregnancy context; preserve previous delivered episodes as historical records. |
| 3. Capture baseline records | Medical history, birth plan and ultrasound record can be created according to workflow; absence is explicitly represented. |
| 4. Record prenatal visit | Validate measurements, dates and structured values; reject impossible or malformed values rather than coercing them. |
| 5. Build assessment snapshot | Collect only approved data from the correct patient and pregnancy episode. |
| 6. Apply completeness gate | Identify required missing records/fields. Missing evidence prevents LOW. |
| 7. Evaluate deterministic rules | Detect approved HIGH factors and urgent reasons from the knowledge base. |
| 8. Execute ML adapter | Send the exact feature schema to the approved Python environment; accept only exact LOW or HIGH output. |
| 9. Resolve final state | Rule HIGH overrides ML LOW. Valid ML HIGH yields HIGH. Valid ML LOW plus complete evidence and no rules yields LOW; otherwise INCOMPLETE. |
| 10. Generate explanation and recommendation | State the final result, contributing factors, missing data, limitations and appropriate action without unsupported certainty. |
| 11. Persist and display | Save assessment snapshot and audit event; display clear badges and reasons on the patient workflow. |
| 12. Refer/escalate and follow up | Support referral when HIGH or clinically indicated, document completion/refusal, and reassess when new information is recorded. |
| 13. Complete pregnancy | Mark delivered once, store delivery/baby information, enforce read-only historical behavior. |
| 14. Start a new pregnancy | Create a separate active pregnancy after delivery; never overwrite the completed episode. |

# 5. Authoritative Hybrid Decision Algorithm

INPUT: patient episode, prenatal visit, medical history, ultrasound, birth plan

1. Validate ownership, pregnancy status, field types, vocabulary and ranges.
2. Determine missing required records/fields.
3. Evaluate deterministic HIGH rules and urgent reasons.
4. Invoke approved ML adapter using exact feature order and preprocessing.
5. Mark ML valid only when output is exactly LOW or HIGH and contains no error condition.
6. Resolve:
   if any deterministic HIGH factor -> HIGH
   else if ML is valid HIGH -> HIGH
   else if required evidence complete AND ML is valid LOW -> LOW
   else -> ASSESSMENT INCOMPLETE
7. Generate reasons, limitations, recommendation and referral/escalation cues.
8. Persist immutable assessment evidence and version metadata.
9. Return a user-facing result that supports human review.

| Condition | Final state | Required communication |
| --- | --- | --- |
| One or more approved deterministic HIGH factors | HIGH | List every detected factor; identify urgent reason where applicable; advise prompt evaluation/referral consistent with clinic protocol. |
| No rule HIGH; valid ML output HIGH | HIGH | State ML-supported elevated classification, disclose that it is decision support, and recommend professional review/referral as configured. |
| No rule HIGH; all required evidence complete; valid ML LOW | LOW | State that no configured HIGH factor was detected in the current complete assessment; continue routine prenatal monitoring and reassess with change. |
| Missing required record/field | ASSESSMENT INCOMPLETE | List missing requirements and instruct completion; do not display reassuring LOW language. |
| Invalid, absent, timeout or error-like ML output with no rule HIGH | ASSESSMENT INCOMPLETE | State that the automated assessment could not be completed; preserve clinical review and retry after technical correction. |
| Rule HIGH plus ML failure or ML LOW | HIGH | Preserve rule-based HIGH; separately record ML failure/disagreement without weakening the result. |

Current rule examples carried from the approved framework The configured HIGH examples include maternal age below 19; age 35 or above with first pregnancy; blood pressure at or above 140/90 mmHg, with 160/110 mmHg or above treated as an urgent reason; documented diabetes or anemia; previous cesarean delivery; three or more miscarriages; non-cephalic presentation such as breech, transverse or oblique; low/high amniotic fluid; weak, abnormal or absent fetal heartbeat; and valid ML HIGH output. These are screening/referral factors, not diagnoses. Changes require evidence review and revalidation.

# 6. Data and Feature Contract

| Contract layer | Minimum requirements |
| --- | --- |
| Source ownership | Every record belongs to the correct patient and pregnancy episode; delivered records cannot be edited through normal ongoing workflows. |
| Field meaning | Each field has one definition, unit, vocabulary, null meaning and valid range documented in the data inventory. |
| Required evidence | Medical history, ultrasound and birth plan status are evaluated explicitly; required inputs cannot be inferred from absence. |
| Feature order | Laravel and Python use one versioned feature schema; order and encoding are deterministic and tested. |
| Categorical mapping | Mappings are explicit, case-normalized safely, and unknown values fail validation rather than map to normal. |
| Dates | Visit date, LMP, EDD, delivery date and timestamps use controlled timezone and temporal consistency checks. |
| Missingness | Missing, unknown, not assessed and clinically normal are distinct states where the data model supports them. |
| Output contract | Python emits a bounded machine-readable result; application accepts only the authorized state and validates process outcome. |
| Snapshot | Assessment stores values/reasons/versions necessary to reconstruct what the system evaluated. |
| Privacy | Only minimum necessary data crosses the integration boundary; logs exclude secrets and unnecessary patient detail. |

assessment_result = {
  final_state: HIGH | LOW | ASSESSMENT_INCOMPLETE,
  rule_factors: [...], urgent_reasons: [...], missing_requirements: [...],
  ml_output: LOW | HIGH | null, ml_valid: true | false,
  explanation: {...}, recommendation: {...},
  rule_version, model_version, feature_schema_version,
  explanation_version, application_release,
  assessed_at, assessed_by, pregnancy_episode_id
}

# 7. Laravel Implementation Responsibilities

| Layer | Primary responsibility | Must not do |
| --- | --- | --- |
| Routes/middleware | Expose intended actions, authenticate, enforce session/security middleware and delivered-patient guardrails. | Contain duplicated clinical decision rules. |
| Request validation | Validate types, ranges, enumerations, dates, ownership and authorization before mutation. | Convert missing/invalid values into normal findings. |
| Controllers | Coordinate request, transaction, service call, redirect/response and user messages. | Own multiple inconsistent copies of assessRisk logic. |
| Clinical decision service | Build snapshot, execute completeness/rules/ML/resolution/explanation and return structured result. | Write arbitrary UI text or hide failures. |
| ML adapter | Construct command or service request safely, enforce timeout, capture exit status, parse exact result and classify failure. | Trust free-form stdout or concatenate unsanitized shell input. |
| Models/relationships | Represent patient, episode, visits, records, referral, baby, assessment and audit relations. | Allow cross-patient or cross-episode record mixing. |
| Persistence/transactions | Commit related assessment and audit changes atomically where appropriate. | Leave partial clinical state after exception. |
| Views | Show state, reasons, missing items, actions, history and delivered restrictions clearly. | Infer risk independently or suppress INCOMPLETE limitations. |
| Audit/logging | Record user action, entity, before/after summary, versions and operational errors safely. | Store passwords, tokens or excessive sensitive content. |
| Jobs/email | Deliver reminders/notifications with retries and observability. | Change risk state when delivery fails. |

# 8. Python Random Forest Implementation Responsibilities

Use one approved, versioned model artifact whose checksum and compatible package versions are known.

Use the same preprocessing and feature definitions applied during model development; do not fit encoders or transform rules during live inference.

Validate feature count, order, type and allowed categories before prediction.

Emit a small, deterministic, machine-readable result. Diagnostic errors go to controlled error handling and must not resemble a valid LOW output.

Return a non-success status on failure so Laravel can distinguish technical failure from a valid class.

Do not expose raw probabilities as certainty or allow them to override deterministic safety rules.

Do not retrain automatically from live clinic records. Candidate models require dataset governance, evaluation, approval and deployment controls.

Preserve model metadata, training code version, data provenance, feature schema, evaluation evidence and retirement status.

# 9. Explainability and Communication Lifecycle

| Explanation component | Required content |
| --- | --- |
| Result statement | HIGH, LOW or ASSESSMENT INCOMPLETE in plain language. |
| Reason list | Rule factors, validated ML contribution, urgent reasons and/or missing requirements. |
| Evidence context | Reference to the maintained clinical knowledge/evidence specification where appropriate, without presenting a guideline as a patient-specific diagnosis. |
| Action | Continue monitoring, complete missing data, repeat assessment, contact supervising professional, or arrange referral according to policy. |
| Limitation | Decision support only; current structured data; no guarantee; ultrasound images not interpreted; LOW does not mean no risk. |
| Version trace | Rule/model/explanation/application identifiers available for audit and reconstruction. |
| User suitability | Concise primary display for midwife workflow, with expandable detail for review and audit. |
| Consistency | Final state, reasons, recommendation, referral state and audit record must not contradict each other. |

Explainability is part of correctness A technically correct HIGH result accompanied by the wrong reason or unsafe recommendation is not an acceptable result. Explanation testing therefore belongs to the clinical V&V baseline, not merely user-interface review.

# 10. Core Data Model and Historical Integrity

| Entity/domain | Key relationship or lifecycle rule |
| --- | --- |
| Patient | Represents the person; may have historical and new pregnancy episodes where the implementation supports episode separation. |
| Pregnancy status/episode | ONGOING allows current workflow; DELIVERED is historical/read-only; new pregnancy creates a new active context rather than rewriting delivery history. |
| Prenatal visit | Belongs to one patient/episode; stores measurements and associated assessment result/history. |
| Medical history | Structured risk-related history; updates can trigger controlled reassessment of incomplete/current visits. |
| Ultrasound | Stores structured documented findings; recordkeeping role does not imply image interpretation. |
| Birth plan | Supports care/referral planning and forms part of required assessment completeness under current logic. |
| Referral | Tracks facility, reason, date, notes and Pending/Completed state; refusal/waiver requires controlled documentation where used. |
| Baby/delivery | Created during delivery workflow; duplicate delivery submission is blocked. |
| Assessment snapshot | Stores final state, factors, missingness, ML validity/output and version metadata. |
| Audit log | Provides attributable create/update/delete/delivery/referral and safety-relevant event history. |
| Soft deletion/retention | Preserves required historical evidence according to policy; does not substitute for authorization or backup. |

# 11. Security, Privacy, and Audit Baseline

| Control domain | Authoritative requirement |
| --- | --- |
| Authentication | Unique user identity, secure password handling, session protection and account lifecycle. |
| Authorization | Least privilege and server-side enforcement for records, clinical actions, referrals, delivery, reports and administration. |
| Delivered guard | All create/edit/delete paths affecting a delivered pregnancy are blocked, not only hidden in the UI. |
| Input/output safety | Validation, escaping, CSRF protection, safe file handling and parameterized database access. |
| Python execution | Safe argument handling, allowlisted path/configuration, timeout, minimal process privilege and no patient data in shell logs. |
| Secrets | Environment-managed, excluded from source control and documents, rotated on incident/change. |
| Auditability | Attributable action, timestamp, object, relevant change summary and versions; logs protected against ordinary editing. |
| Privacy | Minimum necessary collection/use, controlled access, retention, backup protection and incident response consistent with applicable policy. |
| Availability | Backup, restore tests, downtime procedure, health checks and rollback. |
| Monitoring | Operational and safety indicators without turning monitoring logs into an uncontrolled duplicate clinical record. |

# 12. Deployment and Operational Acceptance Summary

| Gate | Minimum evidence before go-live |
| --- | --- |
| Scope approval | Clinic leadership and qualified clinical reviewer accept intended use, users, workflow and referral boundaries. |
| Release identity | Application commit/release, rule set, model artifact/hash, feature schema, explanation library, database migration and configuration inventory recorded. |
| Environment | Supported server/software versions, TLS, filesystem permissions, secrets, timezone, queues/scheduler/email and Python path verified. |
| Data protection | Access controls, privacy notices/policy, backup encryption/access and audit retention reviewed. |
| Migration | Backup completed; migration rehearsed; row counts/constraints verified; rollback or forward-fix plan available. |
| V&V | Clinical rules, boundaries, hybrid conflicts, ML contract, explanations, workflows, security, recovery and UAT pass. |
| Continuity | Downtime/manual process, escalation contacts, restore procedure and rollback practiced. |
| Training | Users understand HIGH/LOW/INCOMPLETE, limitations, referral workflow, overrides/refusal and incident reporting. |
| Monitoring | Health and safety dashboards/queries, thresholds, owners and stabilization review cadence active. |
| Authorization | Named approvers sign release; unresolved release-blocking defects equal no-go. |

# 13. Verification, Validation, and Traceability

| Requirement family | Representative verification | Representative validation evidence |
| --- | --- | --- |
| Clinical thresholds and interactions | Automated unit/boundary/interaction tests for all rule inputs. | Qualified review against Document 4 evidence and local scope. |
| Completeness and ML failure | Tests for missing records, null fields, timeout, malformed output and unavailable model. | Users confirm INCOMPLETE is clear and does not create false reassurance. |
| Conflict precedence | Rule HIGH + ML LOW/failure; ML HIGH with no rules; complete ML LOW. | Clinical reviewer confirms safety-first resolution and recommendations. |
| Episode integrity | Delivered action guards, duplicate delivery block, new-pregnancy separation and relationship tests. | Clinic workflow walkthrough using realistic histories. |
| Explainability | State–reason–recommendation consistency assertions and snapshot comparison. | Midwife review for clarity, actionability and non-diagnostic wording. |
| Referral | Creation, status, search/filter, print/history and delivered restrictions. | Operational confirmation that referral record supports local process. |
| Security/privacy | Authorization, CSRF, session, injection, secret/logging, backup access and audit tests. | Privacy/security acceptance and incident tabletop exercise. |
| Deployment/recovery | Smoke test, migration rehearsal, backup restoration and rollback exercise. | Go-live readiness review and controlled pilot acceptance. |
| Maintenance | Change classification, revalidation selection, version rollback and historical reconstruction. | Governance review confirms controlled lifecycle and ownership. |

traceability_record = {
  requirement_id, source_document, evidence_reference,
  implementation_module, rule_or_model_version,
  verification_test_id, validation_reviewer,
  result, defect_id, release_id, maintenance_owner
}

# 14. End-to-End Traceability Matrix

| ID | Requirement | Implementation point | Primary evidence/test |
| --- | --- | --- | --- |
| IMP-001 | Only HIGH, LOW and ASSESSMENT INCOMPLETE are final states. | Central resolver and database/UI enum handling. | State enumeration and prohibited-output regression tests. |
| IMP-002 | Deterministic HIGH overrides ML LOW or failure. | Rule engine + resolver precedence. | Hybrid conflict matrix. |
| IMP-003 | LOW requires complete required records, valid ML LOW and no rule HIGH. | Completeness gate + ML adapter + resolver. | Missing-record and invalid-ML boundary tests. |
| IMP-004 | All contributing factors are explainable. | Rule reason codes, ML contribution record, explanation library. | State–reason–recommendation consistency tests. |
| IMP-005 | Ultrasound is structured record support, not image diagnosis. | Ultrasound CRUD and approved field mappings. | Scope review and UI wording inspection. |
| IMP-006 | HIGH supports referral appropriate to lying-in scope. | Recommendation/referral modules. | Referral workflow UAT. |
| IMP-007 | Delivered pregnancy is historical and read-only. | Delivered action trait/policies/controller guards. | Attempt every forbidden mutation after delivery. |
| IMP-008 | New pregnancy does not overwrite prior pregnancy. | Episode/new-pregnancy workflow and relationships. | Historical separation test. |
| IMP-009 | Python failures never become LOW. | ML adapter parser, status/timeout handling. | Malformed stdout, stderr, timeout, missing artifact tests. |
| IMP-010 | Clinical behavior is versioned and reconstructable. | Assessment snapshot, release/rule/model/explanation metadata. | Historical reconstruction review. |
| IMP-011 | All releases are validated and reversible. | CI/test evidence, deployment checklist, backup and rollback. | Release gate and rollback rehearsal. |
| IMP-012 | Changes are governed after deployment. | Change request, impact analysis, CAPA and revalidation workflow. | Maintenance governance audit. |

# 15. Failure Modes and Safe Behavior

| Failure mode | Unsafe behavior prohibited | Required safe response |
| --- | --- | --- |
| Required record absent | Show LOW or silently assume normal. | ASSESSMENT INCOMPLETE; list missing requirement; allow later reassessment. |
| Python executable/model missing | Treat empty stdout as LOW. | Record technical failure; preserve rule HIGH or return INCOMPLETE. |
| ML returns unknown text | Substring-match a class. | Reject result as invalid; record diagnostics safely. |
| Database write fails after assessment | Display unsaved result as final. | Rollback transaction; inform user; do not create partial audit/referral state. |
| Rule/explanation versions mismatch | Show recommendation from another rule set. | Block or degrade safely; alert operator; use validated matched versions. |
| Unauthorized user edits record | Rely only on hidden button. | Server-side deny and audit security event as policy requires. |
| Delivered record mutation attempt | Modify historical pregnancy. | Block action and keep history unchanged. |
| Email/queue unavailable | Change risk or mark referral completed. | Keep clinical state; retry/alert operationally. |
| New guideline or defect identified | Edit production threshold directly. | Open controlled change, assess impact, validate and version release. |
| System unavailable | Delay emergency care while waiting for software. | Use downtime/manual clinical process and enter/reconcile data later. |

# 16. Operational Monitoring and Continuous Improvement

| Indicator | Why it matters | Interpretation caution |
| --- | --- | --- |
| ASSESSMENT INCOMPLETE rate by cause | Detects missing-data workflow and ML availability problems. | A lower rate is not good if users enter guessed data. |
| HIGH rate and factor distribution | Detects population, rule, coding or model changes. | Not a direct measure of model accuracy. |
| Rule–ML disagreement | Supports drift/error review and hybrid behavior analysis. | Disagreement can be expected because rules have safety precedence. |
| ML invalid/failure/latency | Shows integration reliability and dependency health. | Technical recovery must not weaken clinical safeguards. |
| Referral completion and time | Shows continuity and operational follow-through. | Affected by access, patient choice and facility capacity. |
| Overrides/refusals/waivers | May reveal alert burden, communication or access barriers. | Must be reviewed respectfully and with privacy protection. |
| Incidents and near misses | Supports learning, CAPA and revalidation. | Absence of reports does not prove absence of problems. |
| User feedback and workarounds | Reveals usability and workflow mismatch. | Changes still require impact analysis and validation. |
| Backup/restore and uptime | Supports availability and recovery readiness. | High uptime alone does not establish clinical correctness. |
| Version adoption | Confirms intended release is active and historical records are attributable. | Do not overwrite historical version metadata. |

# 17. Implementation Maturity Assessment

| Level | Meaning | Evidence required |
| --- | --- | --- |
| M1 — Documented prototype | Architecture, rules, model concept and workflows are specified and implemented for academic evaluation. | Requirements, code, test cases, dataset/model documentation and thesis evidence. |
| M2 — Verified system | Software and hybrid logic pass repeatable technical tests in a controlled environment. | Automated tests, traceability, defect closure and reproducible deployment. |
| M3 — Locally validated pilot | Qualified reviewers and intended users validate clinical logic and usability in the target workflow under oversight. | Clinical review, UAT, privacy/security acceptance, pilot protocol and monitoring. |
| M4 — Governed operational system | Named owners operate release, incident, backup, monitoring, maintenance and revalidation processes. | Approvals, SOPs, audit records, CAPA, service reviews and competency records. |
| M5 — Continuously improved evidence-based service | Performance, equity, safety and evidence changes are monitored and controlled over time. | Longitudinal evidence, independent review, controlled model/rule evolution and retirement planning. |

Current claim boundary The capstone may demonstrate M1 and portions of M2 depending on the evidence actually completed. This document does not claim production clinical validation, regulatory approval, or M3–M5 maturity. Those require real organizational ownership and prospective evidence beyond documentation alone.

# 18. Complete System Readiness Checklist

| Domain | Readiness requirement |
| --- | --- |
| Clinical scope | Intended use, users, limitations and lying-in boundaries approved. |
| Knowledge base | Every rule has definition, evidence, version, interaction behavior and explanation. |
| Data | Fields, units, vocabularies, missingness, ownership and episode relationships verified. |
| Decision logic | Completeness, rules, ML, precedence and final states centralized and tested. |
| Machine learning | Artifact, feature schema, preprocessing, evaluation, failure behavior and version known. |
| Explainability | Reasons and recommendations are consistent, understandable, safe and versioned. |
| Workflow | Prenatal, referral, delivery, historical and new-pregnancy paths pass UAT. |
| Security/privacy | Authentication, authorization, secrets, logs, backups and incident response accepted. |
| Deployment | Environment, migration, smoke tests, monitoring, downtime and rollback ready. |
| V&V | Traceability complete; critical tests pass; release-blocking defects closed. |
| Operations | Named owners, support contacts, training, monitoring and backup/restore cadence active. |
| Maintenance | Change control, CAPA, revalidation, model/rule lifecycle and retirement process active. |

# 19. Final Acceptance Scenarios

| ID | Scenario | Expected acceptance result |
| --- | --- | --- |
| A01 | Age 17, complete records, ML LOW | HIGH due to age; age reason visible; ML cannot downgrade. |
| A02 | Age 36, first pregnancy, ML LOW | HIGH due to age–first-pregnancy interaction. |
| A03 | BP 140/90, ML LOW | HIGH with hypertension screening reason. |
| A04 | BP 160/110 | HIGH with urgent reason and prompt escalation wording. |
| A05 | Diabetes documented, ML LOW | HIGH due to diabetes history. |
| A06 | Anemia documented, ML unavailable | HIGH due to deterministic factor; ML failure separately recorded. |
| A07 | Previous cesarean, otherwise normal | HIGH; referral/care-planning reason visible. |
| A08 | Three miscarriages | HIGH due to recurrent adverse history threshold. |
| A09 | Breech presentation | HIGH; no claim that software interpreted an image. |
| A10 | Low amniotic fluid | HIGH based on recorded structured finding. |
| A11 | Absent fetal heartbeat value | HIGH with urgent communication; immediate human evaluation not delayed. |
| A12 | Complete, no rule factors, valid ML HIGH | HIGH due to ML contribution with limitation statement. |
| A13 | Complete, no rule factors, valid ML LOW | LOW with continued-monitoring wording. |
| A14 | Medical history missing, ML LOW | ASSESSMENT INCOMPLETE; missing history listed. |
| A15 | Ultrasound missing, ML LOW | ASSESSMENT INCOMPLETE under current required-record policy. |
| A16 | Birth plan missing, ML LOW | ASSESSMENT INCOMPLETE under current required-record policy. |
| A17 | ML returns blank/ERROR/MODERATE | Invalid; INCOMPLETE unless a rule already makes result HIGH. |
| A18 | Python timeout | Safe failure; no false LOW; diagnostic event recorded. |
| A19 | Rule HIGH and ML HIGH | HIGH with combined reasons without duplicated/conflicting wording. |
| A20 | Rule HIGH and ML LOW | HIGH; precedence trace visible. |
| A21 | Update missing record after incomplete visit | Controlled reassessment produces new result and retains history/audit. |
| A22 | Unauthorized edit | Server denies; data unchanged. |
| A23 | Mark delivered twice | Second submission blocked; no duplicate baby/delivery record. |
| A24 | Edit delivered prenatal record | Blocked server-side. |
| A25 | Start new pregnancy after delivery | New ongoing context created; old episode remains read-only. |
| A26 | Attempt new pregnancy while ongoing | Blocked under current workflow rule. |
| A27 | Create referral for delivered pregnancy | Blocked or handled only by explicitly authorized historical workflow. |
| A28 | Email failure after assessment | Risk and referral records remain correct; failure is operational only. |
| A29 | Migration failure | Release stops; backup/rollback/forward-fix process used; no partial go-live. |
| A30 | Restore from backup | Relationships, assessment snapshots, versions and audit records reconcile. |
| A31 | Deploy wrong model hash | Health/readiness gate blocks release. |
| A32 | Feature order changed only in Laravel | Contract test fails before release. |
| A33 | Explanation version stale | Consistency gate blocks deployment or assessment safely. |
| A34 | Old assessment opened after rule update | Historical result remains attributable to prior versions. |
| A35 | Security incident exposes credential | Credential revoked/rotated; access reviewed; incident process initiated. |
| A36 | System outage during urgent presentation | Manual clinical escalation proceeds without waiting for CDSS. |
| A37 | User attempts guessed values to complete assessment | Training/validation discourages fabrication; unknown remains explicit. |
| A38 | HIGH patient refuses referral | Refusal/waiver and counseling documented without changing clinical risk to LOW. |
| A39 | Candidate model has higher accuracy but more HIGH false negatives | Candidate rejected pending safety justification. |
| A40 | Clinical guideline changes threshold | Controlled evidence review, impact analysis, versioned change and full revalidation required. |

# 20. Panel Defense Questions and Model Answers

| Question | Model answer |
| --- | --- |
| Why use a hybrid model? | Deterministic rules preserve explicit safety-critical thresholds and explainability, while Random Forest can add pattern recognition within a bounded role. The resolver prevents ML from downgrading a deterministic HIGH factor. |
| Why is there no MODERATE category? | The approved system uses only HIGH, LOW and ASSESSMENT INCOMPLETE to avoid an ambiguous middle state and to align actions with the clinic’s scope. Unknown data is not mislabeled as moderate. |
| Why require records before LOW? | LOW could create reassurance. The completeness gate prevents a reassuring state when required evidence is absent or the model is invalid. |
| Does HIGH diagnose a complication? | No. HIGH is a screening/escalation state indicating one or more configured factors requiring professional review and possible referral. |
| Why can ML not override a rule? | Rules encode explicit safety boundaries and local referral triggers. A statistical model can be wrong or drift; therefore it cannot downgrade those rules. |
| What happens when Python fails? | The adapter marks ML invalid. Rule-based HIGH remains HIGH; otherwise the result is ASSESSMENT INCOMPLETE, never silently LOW. |
| Why include birth plan and ultrasound in completeness? | That is the current approved workflow policy. The system treats them as required records for a complete assessment while remaining clear that it does not interpret ultrasound images. |
| How is explainability implemented? | The result is accompanied by structured reason codes, detected factors, missing evidence, ML validity/contribution, limitation text, recommendation and version metadata. |
| How do you protect historical pregnancies? | Delivery changes the episode to a completed, read-only state. A new pregnancy creates a separate context rather than overwriting prior visits, delivery, baby, referral or assessment history. |
| How do you know the implementation matches requirements? | A traceability matrix connects each requirement to evidence, module, test, result, release and maintenance owner. |
| Is the system ready for real patients? | The capstone can demonstrate documented and technically verified behavior. Real deployment additionally requires qualified clinical validation, organizational approval, privacy/security acceptance, training, pilot monitoring and governance. |
| Why store versions? | Rules, models, feature schemas, explanations and software change. Version metadata allows a past decision to be reconstructed and audited. |
| What is the main safety principle? | No technical convenience may create false reassurance, hide uncertainty, weaken deterministic escalation, or delay necessary human care. |
| How are updates controlled? | Every safety-relevant change is classified, impact-assessed, reviewed, versioned, tested, approved, monitored and reversible. |
| What is the role of the midwife? | The midwife enters and verifies data, reviews explanations, applies professional judgment, communicates with the patient and follows referral/escalation protocol. The CDSS supports these tasks but does not replace them. |
| Why is ultrasound only a record? | Image acquisition and interpretation require trained professionals and equipment. The capstone only stores documented structured findings for records and approved decision rules. |
| How is privacy handled? | Through minimum necessary data, role-based access, secure sessions, protected secrets, controlled logs/backups, auditability and incident procedures. |
| How would you improve the model later? | Use governed local data, clinically meaningful labels, patient-level separation, subgroup/error analysis and prospective validation; deploy only if the candidate improves the safety case. |
| What prevents duplicate logic? | A centralized decision service/resolver is the authoritative implementation; controllers and views consume its structured output rather than reimplementing rules. |
| What is Part 12’s purpose? | It is the master implementation baseline that unifies Parts 1–11 and connects Documents 0–5 to deployment, validation and maintenance. |

# 21. Final Authoritative CDSS Implementation Specification

Authoritative specification The maternity CDSS shall be implemented as a human-supervised Laravel application with a centralized hybrid decision service, deterministic clinical rules, a bounded Python Random Forest adapter, explicit completeness and ML-validity gates, safety-first conflict resolution, explainable outputs, referral support, immutable historical pregnancy behavior, auditable assessment snapshots, controlled deployment, risk-based V&V, and governed maintenance. The only final risk states are HIGH, LOW, and ASSESSMENT INCOMPLETE. Deterministic HIGH factors cannot be downgraded by ML. LOW requires complete required evidence, no rule-based HIGH factor, and valid ML LOW. Any missing required evidence or invalid ML result prevents LOW unless a deterministic factor already establishes HIGH. The system shall remain within lying-in clinic scope, preserve human judgment, and never claim diagnosis or certainty.

Patient safety and truthful uncertainty take precedence over convenience, automation, speed and appearance.

Clinical knowledge, software logic, model artifacts, explanations and deployment configuration are controlled as one safety-relevant system.

Every displayed result must be traceable to the data, reasons, versions and user action that produced it.

Every release must be verifiable, validated in proportion to risk, approved, monitored and reversible.

Every post-deployment change must preserve historical integrity and undergo controlled revalidation.

The next major document shall define the Explainability Framework in greater depth without changing the authoritative decision logic established here.

# 22. References and Internal Traceability Sources

[1] World Health Organization. WHO recommendations on antenatal care for a positive pregnancy experience. 2016. https://www.who.int/publications/i/item/9789241549912

[2] World Health Organization. WHO guideline: recommendations on digital interventions for health system strengthening. 2019. https://www.who.int/publications/i/item/9789241550505

[3] World Health Organization. Ethics and governance of artificial intelligence for health. 2021. https://www.who.int/publications/i/item/9789240029200

[4] World Health Organization. SMART Guidelines: standards-based, machine-readable, adaptive, requirements-based and testable. 2021. https://www.who.int/teams/digital-health-and-innovation/smart-guidelines

[5] National Privacy Commission, Philippines. Republic Act No. 10173 — Data Privacy Act of 2012. 2012. https://privacy.gov.ph/data-privacy-act/

[6] Laravel. Laravel documentation. 2026. https://laravel.com/docs

[7] Python Software Foundation. Python documentation. 2026. https://docs.python.org/3/

[8] scikit-learn developers. RandomForestClassifier documentation. 2026. https://scikit-learn.org/stable/modules/generated/sklearn.ensemble.RandomForestClassifier.html

Internal traceability basis: Document 0 Clinical Data Inventory and Scope Analysis; Document 1 Clinical Knowledge Base; Document 2 Decision Engine; Document 3 Machine Learning Architecture; Document 4 Clinical Evidence Specification; Document 5 Risk Framework; and Document 6 Parts 1–11. These internal specifications govern terminology and implementation behavior for this capstone.

# Appendix A — Master Implementation Handover Package

| Artifact | Minimum handover content |
| --- | --- |
| Source code | Repository, protected main branch/tag, build instructions, licenses and code owner. |
| Clinical knowledge | Rule catalogue, thresholds, interactions, evidence references, approved wording and version history. |
| ML package | Training/inference code, artifact/hash, dependencies, feature schema, preprocessing, evaluation and limitations. |
| Database | ERD/data dictionary, migrations, constraints, backup/restore procedure and retention policy. |
| Configuration | Non-secret environment template, server requirements, scheduler/queue/email/Python setup and health checks. |
| Test evidence | Traceability matrix, automated test results, clinical review, UAT, security, recovery and release defects. |
| Operations | Runbook, downtime workflow, support contacts, monitoring, escalation, backup and incident procedures. |
| Governance | Release approval, change request, model/rule review, CAPA, revalidation and retirement records. |
| Training | Role-specific user guide, limitations, risk communication and competency record. |
| Known limitations | Open defects, excluded uses, dataset limitations, local validation status and future work. |

# Appendix B — Release-Blocking Defects

Any path that can return LOW when required evidence is missing or the ML result is invalid.

Any failure of deterministic HIGH precedence, including a rule HIGH downgraded by ML.

Incorrect threshold, unit, categorical mapping, patient ownership or pregnancy-episode association.

Explanation or recommendation that contradicts the final state, omits an urgent reason, or gives unsafe reassurance.

Unauthorized clinical record access or mutation, including delivered-pregnancy modification.

Unversioned or unknown model/rule/feature/explanation artifact in the production assessment path.

Python command injection, secret exposure, uncontrolled patient information in logs, or critical security vulnerability.

Database migration capable of losing, merging or corrupting historical clinical/assessment records.

Backup that cannot be restored or rollback that cannot return the system to a known safe state.

Unresolved critical defect, failed clinical acceptance, missing operational owner, or absent downtime process.