DOCUMENT 3

PART 10
VALIDATION AND VERIFICATION ARCHITECTURE

Evidence Framework for Machine Learning, Deterministic Rules, Integration, Safety, and Clinical Workflow

Development of an Explainable Clinical Decision Support System
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Architecture Specification

Laravel → Python → Random Forest → Deterministic Decision Engine

Version 1.0 | July 2026

Purpose of this specification This part defines how the maternity CDSS shall be tested, verified, validated, documented, and approved before operational use. It separates software verification from clinical validation, treats false-LOW outcomes as the principal safety concern, and requires evidence for the complete human-AI workflow rather than the Random Forest model alone.

# 10.1 Validation Philosophy

Validation asks whether the system is suitable for its intended use in a lying-in clinic. Verification asks whether each component was built and behaves according to its specification. Both are necessary because a technically correct model may still be unsafe in workflow, while a clinically sensible rule may still be implemented incorrectly.

The unit under evaluation is the complete CDSS: data capture, preprocessing, Python inference, deterministic safety rules, explanation, user display, audit trail, and referral support.

Testing shall reflect the intended population, intended users, actual clinic resources, and the restricted role of the system as decision support.

No single metric, especially accuracy, is sufficient to approve the system.

Validation evidence shall be reproducible, versioned, reviewable, and linked to the exact dataset, model artifact, code revision, and rule set.

# 10.2 Intended Use and Validation Boundaries

| Area | Validated Use | Explicitly Outside Scope |
| --- | --- | --- |
| User | Authorized clinic staff and midwives using the web-based maternity management system. | Independent patient self-diagnosis or unsupervised public use. |
| Output | HIGH, LOW, or ASSESSMENT INCOMPLETE with visible reasons and safe recommendations. | Definitive diagnosis, treatment prescription, or assurance that delivery is safe. |
| Setting | Prenatal workflow in a Philippine lying-in clinic with referral to higher-level care when needed. | Emergency care, hospital-level management, or replacement of physician assessment. |
| Ultrasound | Structured record fields may trigger explicit rules where supported by recorded findings. | Image interpretation, automated fetal anomaly detection, or diagnostic ultrasound analysis. |
| Model | Random Forest prediction used as one input to the final decision engine. | Autonomous final clinical classification without rule checks and human review. |

# 10.3 Verification and Validation Layers

| Data Contract | Preprocessing | Random Forest | Decision Engine | Laravel Integration | Human Workflow |
| --- | --- | --- | --- | --- | --- |

| Layer | Primary Question | Evidence |
| --- | --- | --- |
| Data contract | Are required fields, units, categories, ranges, and missing states handled consistently? | Schema tests, boundary tests, data dictionary review, invalid-input tests. |
| Preprocessing | Does training-time transformation match inference-time transformation? | Pipeline tests, fixture comparisons, serialization checks, deterministic outputs. |
| Model | Does the frozen model perform adequately on unseen data? | Independent test results, confusion matrix, calibration and subgroup analysis. |
| Decision engine | Do deterministic rules always override or constrain ML as specified? | Rule matrix, scenario tests, precedence tests, urgent-condition tests. |
| Integration | Does Laravel invoke Python safely and interpret only valid outputs? | Contract tests, timeout tests, malformed-output tests, log inspection. |
| Workflow | Can intended users understand and act on the result without unsafe overreliance? | Usability sessions, scenario walkthroughs, comprehension checks, referral workflow tests. |

# 10.4 Dataset Verification

Confirm that each row represents the intended unit of observation and that repeat visits from one patient are not split across training and test partitions.

Check provenance, consent or lawful basis, de-identification, inclusion and exclusion criteria, and dataset version.

Validate ranges, units, category spelling, null representation, impossible combinations, duplicate records, and label consistency.

Document class balance and clinically meaningful subgroup representation; do not hide sparse subgroups behind aggregate metrics.

Freeze the independent test set before final model selection and prohibit tuning against it.

# 10.5 Model Evaluation Plan

| Measure | Reason for Inclusion | Interpretation in This CDSS |
| --- | --- | --- |
| Sensitivity / Recall for HIGH | Measures how many actual HIGH cases are detected. | A low value increases the risk of false reassurance and missed referral. |
| Specificity | Measures how often LOW cases are correctly recognized. | Supports usefulness while remaining secondary to avoiding false-LOW results. |
| Precision for HIGH | Shows how often a HIGH prediction corresponds to a HIGH reference label. | Helps estimate workload and unnecessary referral burden. |
| Negative Predictive Value | Shows how often a LOW output is truly LOW in the evaluated sample. | Directly relevant to the credibility of a LOW classification. |
| F1 score | Balances sensitivity and precision. | Useful for comparison but not a replacement for separate clinical metrics. |
| ROC-AUC / PR-AUC | Summarizes ranking performance across thresholds. | PR-AUC is especially informative when HIGH cases are less common. |
| Calibration | Assesses whether predicted probabilities correspond to observed outcomes. | Required before displaying or using probabilities operationally. |
| Confidence intervals | Shows uncertainty around reported metrics. | Prevents false precision from small test sets. |

# 10.6 Error Analysis and False-LOW Review

Every false-LOW case shall receive structured review because it represents the most safety-sensitive model error. Review must determine whether the failure arose from data quality, label quality, feature omission, population mismatch, model behavior, integration error, or an inadequacy in the deterministic rules.

| Review Field | Required Record |
| --- | --- |
| Case identifier | De-identified traceable ID linked to the frozen evaluation set. |
| Reference label and basis | The expected HIGH determination and the evidence used to assign it. |
| Model output | Predicted class, score if available, model version, and feature vector. |
| Rule outcome | Rules evaluated, rules triggered, and final decision path. |
| Root-cause category | Data, label, model, rule, integration, workflow, or unresolved. |
| Corrective action | No action, data correction, rule revision, retraining proposal, usability change, or deployment block. |

# 10.7 Deterministic Decision Engine Verification

The decision engine shall be tested independently of the model by using a complete decision table and automated scenario fixtures.

| Scenario | Expected Final State | Essential Verification |
| --- | --- | --- |
| Any required record missing | ASSESSMENT INCOMPLETE | No LOW result may be emitted, even if the model returns LOW. |
| ML output invalid, empty, timeout, or error text | ASSESSMENT INCOMPLETE | Failure is visible and does not silently default to LOW. |
| Age below 19 | HIGH | Rule reason is displayed and persists in the audit record. |
| Age 35 or older and first pregnancy | HIGH | Both conditions must be true for this specific rule. |
| Blood pressure at least 140/90 | HIGH | Systolic or diastolic threshold logic is correctly implemented. |
| Blood pressure at least 160/110 | HIGH with urgent reason | Urgent wording is distinguishable from routine HIGH reasons. |
| Diabetes, anemia, previous CS, or miscarriages at least 3 | HIGH | Each trigger works separately and in combination. |
| Breech, transverse, or oblique presentation | HIGH | Only supported structured findings trigger the rule. |
| Low/high amniotic fluid or weak/abnormal/absent heartbeat | HIGH | Recorded abnormal findings override model LOW. |
| All required records present, no rule trigger, ML LOW | LOW | LOW is possible only when every required precondition is satisfied. |
| ML HIGH with no rule trigger | HIGH | Model HIGH is retained by the final decision engine. |

# 10.8 Integration and Failure-Mode Verification

Verify the configured Python executable, script path, model path, environment permissions, and production-safe command construction.

Test valid LOW and HIGH responses, invalid text, malformed JSON if JSON is used, nonzero exit status, missing model file, timeout, and unavailable Python runtime.

Verify that only the exact accepted model states are parsed; diagnostic text must never be interpreted as a valid clinical prediction.

Confirm automatic recalculation after relevant medical history, birth plan, or ultrasound updates.

Confirm delivered-patient records are read-only and cannot be silently reassessed as an active pregnancy.

Inspect audit logs for actor, timestamp, patient/visit identifier, input snapshot or trace reference, model version, rule version, output, reasons, and failure details.

# 10.9 Clinical Scenario and Workflow Validation

Prepare representative scenarios covering uncomplicated LOW cases, single-rule HIGH cases, multiple simultaneous risks, urgent blood pressure, incomplete records, invalid model output, referral acceptance, and referral refusal.

Ask intended users to enter or review the scenario using the real interface without coaching beyond normal training.

Measure whether the user correctly identifies the final state, understands the reasons, recognizes that the tool is not a diagnosis, and selects the appropriate next action.

Record navigation errors, ambiguous labels, delayed actions, overreliance, disagreement handling, and documentation gaps.

Revise the interface or workflow and repeat validation when critical comprehension or action errors are found.

# 10.10 Subgroup, Robustness, and Stress Testing

| Test Domain | Examples | Release Expectation |
| --- | --- | --- |
| Subgroups | Age bands, parity, previous CS, diabetes/anemia status, and other groups supported by sample size. | Report metrics with uncertainty; investigate clinically meaningful performance gaps. |
| Boundary values | Ages 18/19 and 34/35; BP 139/89, 140/90, 159/109, 160/110; miscarriages 2/3. | Exact expected classification and reason at every boundary. |
| Missingness | One missing record, missing individual feature, empty strings, nulls, and unknown categories. | Fail-safe behavior; never silent imputation that changes safety state unless validated. |
| Combined risks | Multiple rules plus ML LOW or HIGH. | All applicable reasons preserved; HIGH overrides LOW. |
| Load and reliability | Repeated assessments, concurrent users, process timeouts, log growth. | Acceptable response time and no cross-patient data leakage. |
| Version mismatch | New feature schema with old model or old script with new Laravel payload. | Controlled failure to ASSESSMENT INCOMPLETE and explicit technical log. |

# 10.11 Acceptance Gates

| Gate | Minimum Evidence Before Approval |
| --- | --- |
| Data | Dataset review complete; no unresolved critical quality or leakage issue. |
| Model | Independent test metrics, confidence intervals, calibration assessment, subgroup review, and false-LOW case analysis documented. |
| Rules | All decision-table cases and boundary tests pass. |
| Integration | Valid and failure responses handled correctly; no pathway silently defaults to LOW. |
| Security and privacy | Access controls, secret handling, logs, retention, and de-identification reviewed. |
| Usability | Intended users correctly interpret HIGH, LOW, and ASSESSMENT INCOMPLETE and know escalation limits. |
| Clinical governance | Authorized reviewer signs the intended use, limitations, referral wording, and residual-risk statement. |
| Deployment | Rollback package, version manifest, monitoring plan, and incident owner are available. |

# 10.12 Required Validation Package

Validation plan and protocol; traceability matrix; data dictionary and dataset report; partition manifest.

Training configuration, model artifact checksum, model card, and test-set evaluation report.

Rule specification, automated test results, clinical scenario results, and false-LOW review log.

Laravel-Python interface contract, integration test evidence, security review, and deployment checklist.

Usability findings, training materials, known limitations, residual risks, approvals, and release decision.

# 10.13 Traceability Matrix Template

| Requirement ID | Requirement | Hazard / Rationale | Verification Method | Evidence | Status |
| --- | --- | --- | --- | --- | --- |
| V-001 | Missing required records produce ASSESSMENT INCOMPLETE. | Prevents unsupported LOW classification. | Automated scenario test | Test report reference | Pass/Fail |
| V-002 | Rule-based HIGH overrides model LOW. | Prevents model from suppressing known risk. | Unit and integration tests | Test report reference | Pass/Fail |
| V-003 | Invalid Python output cannot be parsed as LOW. | Prevents silent false reassurance. | Failure-injection test | Log and screenshot | Pass/Fail |
| V-004 | Displayed reasons match the actual decision path. | Supports explainability and correct action. | UI and audit comparison | Validation record | Pass/Fail |

# 10.14 Conclusion

The CDSS is acceptable only when evidence supports the complete system and workflow. Approval of the Random Forest in isolation is insufficient. The decisive safety properties are fail-safe incomplete handling, deterministic rule precedence, transparent reasons, dependable integration, appropriate user understanding, and controlled referral support.

# References

World Health Organization. (2021). Ethics and governance of artificial intelligence for health: WHO guidance.

National Institute of Standards and Technology. (2023). Artificial Intelligence Risk Management Framework (AI RMF 1.0), NIST AI 100-1.

International Medical Device Regulators Forum. (2025). Good Machine Learning Practice for Medical Device Development: Guiding Principles.

U.S. Food and Drug Administration, Health Canada, and MHRA. (2024). Transparency for Machine Learning-Enabled Medical Devices: Guiding Principles.

U.S. Food and Drug Administration, Health Canada, and MHRA. Predetermined Change Control Plans for Machine Learning-Enabled Medical Devices: Guiding Principles.