DOCUMENT 4

# Clinical Evidence Specification

PART 7

# Ultrasound Findings

Fetal Presentation, Amniotic Fluid Volume, Fetal Cardiac Activity,
Decision Logic, Explainability, and Safety Boundaries

Clinical rules documented in this chapter The project CDSS treats breech, transverse, or oblique presentation; low or high amniotic fluid; and weak, abnormal, or absent fetal heartbeat entries as deterministic HIGH-risk factors. These rules support review and referral. The ultrasound record is documentary input only: the CDSS does not perform imaging, interpret images, diagnose fetal death, determine fetal well-being, or choose delivery management.

Capstone Project

Development of an Explainable Clinical Decision Support System (CDSS)
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Rewritten evidence specification | July 2026

# Executive Summary

Obstetric ultrasound provides clinically important information about fetal viability, presentation, growth, anatomy, placental location, amniotic fluid, and selected Doppler findings. ISUOG's 2024 third-trimester guideline specifically includes viability, fetal presentation, amniotic-fluid assessment, biometry, growth pattern, placenta, Doppler, and anatomy in the scan checklist. WHO recommends one ultrasound before 24 weeks as part of routine antenatal care, while later scans are guided by clinical need and local policy.

The current capstone does not analyze ultrasound images. A qualified external professional performs and interprets the examination, and the clinic records selected report findings. The CDSS then applies deterministic referral rules. This distinction is essential: the software is a record-based decision-support tool, not an ultrasound diagnostic system.

Most important safety correction The labels 'weak heartbeat' and 'abnormal heartbeat' are not standardized ultrasound diagnoses. They must be treated as externally reported warning entries requiring verification. 'Absent heartbeat' must never be converted by the CDSS into a final diagnosis of miscarriage or fetal death; early-pregnancy diagnosis may require qualified review, measurements, a second opinion, and a repeat scan.

# 1. Purpose and Scope

| In scope | Outside scope |
| --- | --- |
| Using structured findings copied from a signed ultrasound report as referral-support inputs. | Analyzing images, cine loops, Doppler waveforms, or raw ultrasound measurements. |
| Applying transparent HIGH rules to specified presentation, fluid, and cardiac-activity values. | Diagnosing malpresentation, oligohydramnios, polyhydramnios, fetal distress, miscarriage, or fetal death. |
| Identifying incomplete or contradictory ultrasound records. | Choosing external cephalic version, induction, cesarean birth, medication, surveillance frequency, or timing of delivery. |
| Supporting traceability to the report, examiner, date, and gestational age. | Replacing a sonologist, radiologist, obstetrician, maternal-fetal medicine specialist, or emergency assessment. |

# 2. Implemented Deterministic Rules

| Rule ID | Recorded condition | Output | Meaning |
| --- | --- | --- | --- |
| US-P01 | Presentation = Breech, Transverse, or Oblique. | HIGH | Non-cephalic or unstable lie requires gestational-age-aware review and birth planning. |
| US-AF01 | Amniotic fluid = Low or High. | HIGH | Abnormal fluid may reflect maternal, fetal, placental, or membrane-related conditions and needs clinical evaluation. |
| US-FH01 | Fetal heartbeat = Weak, Abnormal, or Absent. | HIGH | Reported cardiac concern requires prompt verification and escalation appropriate to gestational age and symptoms. |
| US-00 | Presentation cephalic, fluid normal, heartbeat normal, with no other factor. | No ultrasound-based override | Final result still depends on all records, other rules, and valid ML output. |
| US-INC | Ultrasound missing, values blank/unknown, contradictory, or report provenance unavailable. | ASSESSMENT INCOMPLETE | Do not infer normality. |

# 3. Data Semantics and Timing

The clinical meaning of an ultrasound finding depends on gestational age, examination type, measurement method, report wording, current symptoms, and whether the finding persists. A breech presentation at 24 weeks is not equivalent to breech at term. A cardiac-activity entry in early pregnancy is not interpreted the same way as intrapartum fetal-heart-rate monitoring. A fluid category without AFI or deepest vertical pocket and date cannot establish severity.

| Field | Minimum interpretation context | Current limitation |
| --- | --- | --- |
| Fetal presentation | Gestational age, singleton/multiple pregnancy, date, examiner, and persistence near term. | Current rule may classify early transient non-cephalic presentation HIGH. |
| Amniotic fluid | Measurement method, numeric value, unit, date, gestational age, and report impression. | Current field stores Low/Normal/High only. |
| Fetal heartbeat | Whether cardiac activity was visualized, measured heart rate, scan route, gestational age, report impression, and whether confirmation was advised. | Weak/Abnormal are vague and Absent may require repeat assessment. |
| Report source | Facility, qualified examiner, report date, signed impression, and attachment/reference. | Manual transcription can introduce error. |

Configuration limitation The current deterministic rules are intentionally broad. They are suitable for a conservative referral-support prototype, but they are not sufficiently detailed for autonomous clinical management. Future logic must be gestational-age-aware and measurement-based.

# 4. Fetal Presentation

## 4.1 Evidence and clinical meaning

A vertex or cephalic presentation is usual near term. Breech presentation places the buttocks, feet, or both first; transverse lie places the fetus across the uterus; oblique lie is diagonal and may be unstable. ACOG reports that breech occurs in approximately 3-4% of full-term births and recommends confirmation by examination or ultrasound. ISUOG includes fetal presentation in the third-trimester scan checklist.

Presentation commonly changes earlier in pregnancy, so timing is essential.

Persistent breech or transverse presentation near term affects birth planning and may require hospital-based management.

External cephalic version is a clinician-performed procedure with fetal monitoring and rapid cesarean capability if complications occur.

Planned vaginal breech birth may be considered only in selected circumstances with experienced teams and protocol-based hospital resources.

Transverse lie at labour generally cannot proceed as routine vaginal birth and carries risks including cord prolapse after membrane rupture.

## 4.2 Rule justification and boundary

US-P01 rationale The lying-in clinic is designed for uncomplicated normal delivery. Recording breech, transverse, or oblique presentation therefore activates HIGH to prompt obstetric review and hospital birth planning. HIGH does not mean that the software has decided cesarean birth, and it must not recommend external cephalic version.

# 5. Amniotic Fluid Volume

## 5.1 Measurement and definitions

Amniotic fluid is commonly estimated using the single deepest vertical pocket or the amniotic fluid index. Report terminology and thresholds must be interpreted by qualified clinicians. ACOG describes isolated oligohydramnios using a single deepest vertical pocket below 2 cm. For polyhydramnios, ACOG categorizes severity using deepest vertical pocket or AFI ranges; moderate or severe polyhydramnios may warrant antenatal surveillance.

| Finding | Examples of clinical associations | Why referral-oriented review is needed |
| --- | --- | --- |
| Low fluid / oligohydramnios | Membrane rupture, placental insufficiency, fetal urinary tract abnormality, fetal growth restriction, post-term pregnancy, or medication effects. | May require confirmation, fetal-growth and well-being assessment, membrane evaluation, and delivery planning. |
| High fluid / polyhydramnios | Maternal diabetes, fetal anomaly affecting swallowing, fetal anemia/infection, multiple pregnancy, or idiopathic cases. | Severity and cause affect surveillance, preterm labour risk, malpresentation, cord prolapse, and birth planning. |
| Borderline/uncertain | Technique, fetal position, hydration, measurement variability, or incomplete report. | A vague category should not be treated as a confirmed severe condition or as normal. |

## 5.2 Rule justification and boundary

US-AF01 rationale The project records only Low, Normal, or High and cannot determine severity or cause. Low or High therefore activates HIGH as a broad safety and referral signal. The CDSS must not prescribe hydration, medication changes, surveillance frequency, induction, or delivery timing.

# 6. Fetal Cardiac Activity and Heart-Rate Terminology

## 6.1 Distinguishing ultrasound cardiac activity from intrapartum monitoring

| Context | Appropriate terminology | Not equivalent to |
| --- | --- | --- |
| Early-pregnancy ultrasound | Cardiac activity visualized/not visualized; measured embryonic/fetal heart rate; viability assessment. | Auscultated fetal heart tones or intrapartum cardiotocography category. |
| Later antenatal ultrasound | Fetal cardiac activity, measured rate, rhythm observations, cardiac anatomy, or Doppler findings as reported. | A complete fetal well-being assessment from one text field. |
| Labour | Baseline rate, variability, accelerations, decelerations, and pattern interpretation using fetal monitoring. | The ultrasound field labelled Weak/Abnormal/Absent. |

The project's values Weak, Abnormal, and Absent combine different clinical concepts. 'Weak' may reflect poor signal, subjective wording, or true concern; 'abnormal' may refer to rate, rhythm, anatomy, or monitoring; and 'absent' may mean cardiac activity was not visualized at a particular examination. They should be treated as warning entries, not diagnoses.

## 6.2 Safeguards for absent cardiac activity

NICE NG126 states that miscarriage diagnosis from a single ultrasound cannot be guaranteed to be 100% accurate, especially at very early gestational ages. When no heartbeat is seen, crown-rump length, scan route, gestational age, repeat-scan interval, and second opinion may be required. NICE recommends repeat assessment after at least 7 days in specified transvaginal-scan situations and at least 14 days after a transabdominal scan before diagnosis in relevant cases.

US-FH01 emergency and diagnostic boundary Absent or abnormal cardiac activity must activate immediate qualified review. The CDSS may say 'cardiac activity was reported absent or abnormal and requires urgent confirmation.' It must not display 'miscarriage confirmed,' 'fetal death confirmed,' or treatment instructions unless that diagnosis is explicitly documented by an authorized clinician in a separate confirmed-diagnosis field.

# 7. Evidence Review

| Source | Key evidence used | Project implication |
| --- | --- | --- |
| ISUOG 2024 third-trimester guideline | Checklist includes viability, placenta, fetal presentation, biometry/growth, amniotic fluid, Doppler, and anatomy. | Supports structured report fields and professional interpretation. |
| WHO antenatal ultrasound recommendation | One ultrasound before 24 weeks is recommended to estimate gestational age, improve anomaly detection, and improve pregnancy experience. | Supports ultrasound availability, not autonomous interpretation. |
| ACOG breech guidance | Breech is confirmed by examination/ultrasound; ECV requires monitoring and rapid cesarean availability. | Supports referral and prohibits software-performed management. |
| ACOG fetal surveillance guidance | Defines low fluid and polyhydramnios categories and discusses surveillance based on severity. | Shows why Low/High categories need measurement and clinical context. |
| NICE NG126 | No visible heartbeat in early pregnancy may require measurements, second opinion, and repeat scan before diagnosis. | Requires conservative wording and confirmation safeguards. |
| ACOG intrapartum FHR guideline 2025 | Provides evidence-based evaluation of intrapartum fetal-heart-rate patterns. | Confirms that a simple ultrasound heartbeat label is not intrapartum interpretation. |

# 8. Philippine Lying-in Clinic Context

Philippine birthing homes and lying-in clinics primarily support prenatal/postnatal care, normal spontaneous delivery, and newborn care. They may not have continuous electronic fetal monitoring, operating theatre, blood bank, advanced neonatal services, or specialist ultrasound interpretation on site. Ultrasound may be performed externally and entered later into the clinic record.

Because abnormal presentation, fluid volume, or cardiac activity can change the appropriate place and urgency of care, the CDSS should support early referral and confirmation. It should also store the external report source rather than presenting manually encoded fields as if the system generated the finding.

Ultrasound's role in this capstone Ultrasound remains a clinical record and a source of rule-based factors. It is not part of the machine-learning prediction and is not interpreted by artificial intelligence. This keeps the system within a safer and more defensible scope.

# 9. Decision Logic and Precedence

| Presentation | Fluid | Heartbeat | ML | Expected result |
| --- | --- | --- | --- | --- |
| Breech/Transverse/Oblique | Normal | Normal | LOW | HIGH - US-P01 |
| Cephalic | Low/High | Normal | LOW | HIGH - US-AF01 |
| Cephalic | Normal | Weak/Abnormal/Absent | LOW | HIGH - US-FH01 |
| Breech | Low | Abnormal | LOW | HIGH with all distinct reasons |
| Cephalic | Normal | Normal | LOW | LOW only when all other records and rules permit |
| Unknown | Normal | Normal | Any | ASSESSMENT INCOMPLETE |
| Cephalic | Blank | Normal | Any | ASSESSMENT INCOMPLETE |
| Cephalic | Normal | Blank | Any | ASSESSMENT INCOMPLETE |
| Any HIGH ultrasound value | Any | Any | Invalid | HIGH, with ML failure recorded |

Precedence Any valid ultrasound HIGH factor overrides LOW ML output. Missing required ultrasound data prevents LOW. Multiple ultrasound findings should produce one HIGH result with separate, nonduplicated reasons.

# 10. Implementation Traceability

| Layer | Expected implementation | Safety requirement |
| --- | --- | --- |
| Ultrasound form | Use controlled values for presentation, fluid, and heartbeat; store report date and gestational age. | Include Unknown/Not assessed; do not use blank as Normal. |
| Report provenance | Store facility, examiner/reporting professional, report identifier, and attachment or reference. | Differentiate transcribed finding from system-generated output. |
| Controller/service | Normalize values and activate US-P01, US-AF01, and US-FH01 independently. | Recalculate after create/update and preserve all active reasons. |
| Patient profile | Show report date, gestational age, source, finding, HIGH badge, and plain-language explanation. | Do not show invented measurements or diagnosis. |
| Referral workflow | Create referral-oriented recommendation and track status. | Do not equate referral creation with completed specialist care. |
| Audit trail | Store original/new values, source, user, timestamp, rule version, and final result. | Protect against silent edits and transcription error. |
| Delivered workflow | Make completed pregnancy ultrasound records read-only. | New pregnancy must use new ultrasound records. |

# 11. Explainability Library

| Context | Approved wording |
| --- | --- |
| Breech | The ultrasound report records breech presentation. Presentation near birth affects delivery planning and requires obstetric review. |
| Transverse/oblique | The ultrasound report records transverse or oblique lie. This position may not be suitable for routine vaginal delivery and requires hospital birth planning. |
| Low fluid | The report records low amniotic fluid. The amount, cause, fetal growth, membrane status, and gestational age require clinical evaluation. |
| High fluid | The report records high amniotic fluid. Severity and possible maternal or fetal causes require clinical evaluation and birth planning. |
| Weak/abnormal heartbeat | The report contains a fetal cardiac warning. The wording is not a diagnosis and requires prompt verification by a qualified clinician. |
| Absent heartbeat | The report states that cardiac activity was not seen. Urgent qualified review is required; the CDSS does not confirm pregnancy loss. |
| Patient-facing boundary | The system copied these findings from the ultrasound record. It did not analyze the scan and cannot decide the diagnosis or delivery method. |

# 12. Recommendation and Urgency Mapping

| Finding/state | CDSS action | Excluded action |
| --- | --- | --- |
| Persistent non-cephalic presentation near term | Prompt obstetric review and documented hospital birth plan. | Selecting ECV, vaginal breech birth, or cesarean. |
| Low/high fluid | Prompt confirmation of measurement, severity, cause, fetal growth/well-being, and specialist plan. | Prescribing hydration or choosing surveillance/delivery schedule. |
| Weak/abnormal cardiac entry | Prompt same-day or urgency-appropriate review depending on report and symptoms. | Interpreting rhythm or fetal-monitoring category. |
| Absent cardiac activity | Display urgent confirmation pathway; use emergency pathway if pain, bleeding, collapse, or instability. | Confirming miscarriage/fetal death or recommending treatment. |
| Missing/uncertain report | Mark assessment incomplete and seek the signed report or qualified reassessment. | Defaulting to normal. |
| Referral refused | Maintain HIGH; document counseling, unresolved risk, refusal, and safety net. | Removing the finding or treating waiver as risk resolution. |

# 13. Clinical Limitations and Failure Modes

| Failure mode | Potential harm | Control |
| --- | --- | --- |
| Early breech automatically treated as delivery abnormality | Over-referral and misleading counseling. | Display gestational age and explain that presentation may change. |
| Fluid category without measurement | Severity and method cannot be verified. | Store AFI or deepest pocket, units, date, and report impression in future. |
| 'Weak heartbeat' accepted as diagnosis | Subjective or poor-quality signal may be misrepresented. | Treat as warning; require verification. |
| 'Absent heartbeat' shown as confirmed loss | Catastrophic false diagnosis in early pregnancy. | Use NICE confirmation safeguards and authorized diagnosis field. |
| Manual transcription error | Wrong HIGH factor or false reassurance. | Attach/source report, audit edits, and allow verification. |
| Old ultrasound reused | Current presentation/fluid may differ. | Display date prominently and define recency policy. |
| ML returns LOW | Abnormal ultrasound may be masked. | Deterministic rules override ML. |
| Referral pending | Care gap hidden. | Track referral status and unresolved action. |
| Emergency symptoms ignored | Routine workflow delays urgent care. | Separate emergency triage from historical assessment. |
| Ultrasound report missing | Normality assumed. | ASSESSMENT INCOMPLETE. |

# 14. Validation Matrix

| Test ID | Scenario | Expected output | Control/explanation |
| --- | --- | --- | --- |
| US-T01 | Breech; fluid normal; heartbeat normal; ML LOW. | HIGH | US-P01 shown. |
| US-T02 | Transverse; ML LOW. | HIGH | Hospital planning reason. |
| US-T03 | Oblique; ML LOW. | HIGH | US-P01 shown. |
| US-T04 | Cephalic; low fluid; ML LOW. | HIGH | US-AF01 shown. |
| US-T05 | Cephalic; high fluid; ML LOW. | HIGH | US-AF01 shown. |
| US-T06 | Cephalic; normal fluid; weak heartbeat. | HIGH | Warning, not diagnosis. |
| US-T07 | Cephalic; abnormal heartbeat. | HIGH | Prompt verification. |
| US-T08 | Absent heartbeat in early scan. | HIGH/urgent confirmation | Never display confirmed miscarriage automatically. |
| US-T09 | Breech + low fluid + abnormal heartbeat. | HIGH | Three distinct reasons, one final category. |
| US-T10 | All normal; ML LOW; all records complete. | LOW | No ultrasound reason. |
| US-T11 | Presentation blank. | ASSESSMENT INCOMPLETE | Do not default cephalic. |
| US-T12 | Fluid unknown. | ASSESSMENT INCOMPLETE | Do not default normal. |
| US-T13 | Heartbeat blank. | ASSESSMENT INCOMPLETE | Do not default normal. |
| US-T14 | Ultrasound record absent. | ASSESSMENT INCOMPLETE | Missing record identified. |
| US-T15 | Value 'BREECH' uppercase. | HIGH | Case-normalized safely. |
| US-T16 | Unsupported value 'Posterior'. | Validation error | Do not map placental term to presentation. |
| US-T17 | Report updated breech to cephalic. | Recalculate all logic | Audit source/date and do not force LOW automatically. |
| US-T18 | Old scan copied into new pregnancy. | Blocked/data-quality failure | Pregnancy-specific linkage required. |
| US-T19 | Referral pending. | HIGH remains | Unresolved follow-up visible. |
| US-T20 | Patient has pain/bleeding and absent activity entry. | Emergency pathway plus HIGH | Do not wait for ML. |

# 15. Clinical Governance Requirements

Require a signed or electronically attributable ultrasound report from a qualified professional; the lying-in clinic should not invent or reinterpret report findings.

Store gestational age, examination date, report source, and method or numeric measurement when available.

Replace vague heartbeat options in a future version with structured report language: cardiac activity visualized/not visualized, measured rate, rhythm comment, and confirmation recommendation.

Make presentation rules gestational-age-aware in future versions so an early transient breech position is not represented as equivalent to term breech.

Keep an explicit Unknown/Not assessed option and prevent blank values from behaving as normal.

Create separate urgent workflows for absent cardiac activity and for current pain, bleeding, syncope, membrane rupture, reduced fetal movement, or other danger signs.

Require obstetric review of the rule set, referral language, and clinic escalation policy before deployment.

Audit transcription discrepancies, false LOW results, outdated reports, incomplete referrals, and any case where the software wording was mistaken for a diagnosis.

Do not add image analysis, fetal-death diagnosis, ECV advice, fluid-treatment advice, or delivery-timing algorithms without separate evidence review, regulatory assessment, clinical validation, and governance.

# 16. Panel Defense Questions and Model Answers

Q: Does your system interpret ultrasound images?

A: No. A qualified external professional performs and interprets the scan. The system stores selected report findings and uses them only as deterministic referral factors.

Q: Why are breech, transverse, and oblique HIGH?

A: Near birth these positions can make routine normal delivery inappropriate and may require hospital resources. The current broad rule is conservative because the clinic cannot perform individualized delivery planning.

Q: Is breech always dangerous?

A: No. Presentation changes earlier in pregnancy, and selected term breech cases may have different options. HIGH means obstetric review and facility planning, not certainty of harm.

Q: Why are both low and high fluid HIGH?

A: Both can reflect clinically important maternal, fetal, placental, or membrane-related conditions. The current categorical data cannot determine cause or severity.

Q: What does weak heartbeat mean?

A: It is not a standardized diagnosis. In this project it is an external warning entry that requires qualified verification.

Q: Does absent heartbeat mean miscarriage?

A: Not automatically. Especially in early pregnancy, diagnosis may require measurements, second opinion, and repeat scanning. The CDSS never confirms pregnancy loss.

Q: Why override ML?

A: The ultrasound finding is a documented clinical input that may require action. A probabilistic LOW output cannot safely cancel it.

Q: Why is ultrasound required before LOW?

A: Your workflow requires the ultrasound record so that important presentation, fluid, and cardiac findings are not omitted. Missing data therefore produces ASSESSMENT INCOMPLETE.

Q: Can the system recommend cesarean delivery?

A: No. It recommends review and an appropriate hospital plan. The clinician determines delivery method and timing.

Q: What is the main limitation?

A: The fields are broad categories and may be manually transcribed. They lack gestational-age-aware thresholds, measurements, image data, and diagnostic confirmation.

# 17. Final Rule Statement

Approved specification When a verified ultrasound report records breech, transverse, or oblique presentation; low or high amniotic fluid; or weak, abnormal, or absent fetal heartbeat, the CDSS shall activate the corresponding deterministic rule and classify the assessment as HIGH regardless of a LOW ML output. The interface shall identify the exact reported finding, recommend qualified review and referral or hospital birth planning as appropriate, and state that the system did not analyze the ultrasound. It shall not diagnose malpresentation severity, oligohydramnios, polyhydramnios, fetal compromise, miscarriage, or fetal death; select treatment; or determine delivery method or timing. Missing, unknown, contradictory, or unverified ultrasound data shall prevent LOW and produce ASSESSMENT INCOMPLETE.

# 18. References

Official guideline and institutional sources are used wherever publicly available. Accessed July 2026. URLs are clickable.

[1] International Society of Ultrasound in Obstetrics and Gynecology. ISUOG Practice Guidelines: performance of third-trimester obstetric ultrasound scan. 2024. https://www.isuog.org/resource/isuog-practice-guidelines-performance-of-third-trimester-obstetric.html

[2] International Society of Ultrasound in Obstetrics and Gynecology. ISUOG Practice Guidelines (updated): performance of the routine mid-trimester fetal ultrasound scan. 2022. https://www.isuog.org/resource/isuog-practice-guidelines-updated-performance-of-the-routine-mid-trimester-fetal-ultrasound-scan.html

[3] World Health Organization. Maternal and fetal assessment update: imaging ultrasound before 24 weeks of pregnancy. 2022. https://www.who.int/publications/i/item/9789240046009

[4] World Health Organization. WHO recommendations on antenatal care for a positive pregnancy experience. 2016, updated components. https://www.who.int/publications/i/item/9789241549912/

[5] American College of Obstetricians and Gynecologists. If Your Baby Is Breech. current online edition. https://www.acog.org/womens-health/faqs/if-your-baby-is-breech

[6] American College of Obstetricians and Gynecologists. Mode of Term Singleton Breech Delivery, Committee Opinion No. 745. 2018; reaffirmed 2026. https://www.acog.org/clinical/clinical-guidance/committee-opinion/articles/2018/08/mode-of-term-singleton-breech-delivery

[7] American College of Obstetricians and Gynecologists. Indications for Outpatient Antenatal Fetal Surveillance. 2021. https://www.acog.org/clinical/clinical-guidance/committee-opinion/articles/2021/06/indications-for-outpatient-antenatal-fetal-surveillance

[8] National Institute for Health and Care Excellence. Ectopic pregnancy and miscarriage: diagnosis of viable intrauterine pregnancy and tubal ectopic pregnancy, NG126. 2019; updated 2026. https://www.nice.org.uk/guidance/NG126/chapter/diagnosis-of-viable-intrauterine-pregnancy-and-of-tubal-ectopic-pregnancy

[9] National Institute for Health and Care Excellence. Quality statement 3: Confirming a diagnosis of miscarriage, QS69. 2014; updated 2026. https://www.nice.org.uk/guidance/qs69/chapter/quality-statement-3-confirming-a-diagnosis-of-miscarriage

[10] American College of Obstetricians and Gynecologists. Intrapartum Fetal Heart Rate Monitoring: Interpretation and Management, Clinical Practice Guideline No. 10. 2025. https://www.acog.org/clinical/clinical-guidance/clinical-practice-guideline/articles/2025/10/intrapartum-fetal-heart-rate-monitoring-interpretation-and-management

[11] Department of Health, Philippines. Administrative Order No. 2007-0039: Regulation of Birthing Homes. 2007. https://elibrary.judiciary.gov.ph/thebookshelf/showdocs/10/52132

[12] Philippine Health Insurance Corporation. Women about to give birth may avail themselves of PhilHealth benefits. 2016. https://www.philhealth.gov.ph/news/2016/pregnancy_benefits.html

# Appendix A. Rule-to-Evidence Traceability

| Rule element | Evidence basis | Statement type |
| --- | --- | --- |
| Third-trimester scan includes presentation and fluid assessment | ISUOG 2024. | Guideline-supported. |
| Breech/other non-cephalic presentation needs individualized birth planning | ACOG and ISUOG. | Guideline-supported. |
| Fluid abnormalities need measurement, cause, severity, and surveillance context | ACOG and ISUOG. | Guideline-supported. |
| Absent early cardiac activity may require repeat confirmation | NICE NG126/QS69. | Guideline-supported. |
| Specified ultrasound values = HIGH | Evidence plus lying-in facility scope and limited categorical data. | Project design decision. |
| Ultrasound rules override LOW ML | Safety engineering and explainability. | Project governance decision. |
| Ultrasound is record-only, not AI image interpretation | Implemented architecture and intended-use boundary. | Project safety boundary. |
| Missing ultrasound prevents LOW | Workflow completeness and false-negative prevention. | Project safety control. |

# Appendix B. Recommended Data Model for Future Versions

Ultrasound examination date, gestational age, facility, examiner/reporting professional, report identifier, and attached report.

Presentation with options cephalic, breech subtype, transverse, oblique/unstable, compound, uncertain, and not assessed.

Amniotic-fluid method, numeric AFI or single deepest pocket, unit, category, and report impression.

Cardiac activity visualized/not visualized, measured heart rate, rhythm comment, scan route, and recommendation for confirmation.

Singleton or multiple pregnancy and fetus-specific linkage.

Placental location, fetal growth/biometry summary, anomalies, and Doppler findings when clinically governed.

Report status: preliminary, final, corrected, superseded, or awaiting confirmation.

Referral urgency, receiving facility, appointment/transfer status, and clinician plan.

Future-development warning Structured data improve traceability but do not authorize autonomous ultrasound diagnosis. Image analysis or diagnostic classification would transform the risk and regulatory profile of the system and would require specialist datasets, performance validation, bias evaluation, human-factors testing, cybersecurity controls, and formal clinical oversight.