DOCUMENT 5

# Risk Index Framework

PART 6

# Risk Confidence Framework

Confidence Dimensions, Data Quality, Rule and ML Reliability,
Hybrid Decision Confidence, Degradation, Recovery, Validation, and Governance

Purpose of this chapter Part 6 defines what confidence means in the maternity CDSS, what it does not mean, how confidence depends on evidence and execution quality, how it degrades and recovers, and how it shall be represented without misleading clinicians or patients with unsupported numerical certainty.

Capstone Project

Development of an Explainable Clinical Decision Support System (CDSS)
for a Web-Based Maternity Management System in a Philippine Lying-in Clinic

Authoritative confidence and uncertainty specification | July 2026

# Clinical Safety Statement

Confidence is not a diagnosis No confidence label, model score, agreement indicator, or explanation shall be interpreted as proof that a patient is safe, that an adverse outcome will occur, or that a clinician may stop independent assessment. Confidence qualifies the reliability of the decision process and its evidence; it does not replace professional judgment, referral, emergency action, or follow-up.

# Executive Summary

Risk and confidence answer different questions. Risk describes the category produced by the CDSS: HIGH, LOW, or ASSESSMENT INCOMPLETE. Confidence describes how strongly the available evidence, data quality, algorithm execution, and traceability support that result. A HIGH result may be supported with strong confidence when a validated deterministic rule is triggered by reliable data, but it may also coexist with unresolved information. A LOW result requires stricter confidence conditions because false reassurance is particularly unsafe.

This framework does not introduce a single numerical confidence percentage. The current implementation does not contain a validated clinical-confidence model, calibrated probability output, or local threshold study that would justify such a number. Instead, confidence is represented through explicit components: data completeness and validity, deterministic-rule trace, ML execution validity, rule-ML agreement or conflict, explanation traceability, system execution status, and known limitations.

WHO guidance emphasizes transparency, accountability, human autonomy, safety, and explainability in health AI. FDA's 2026 CDS guidance emphasizes enabling health professionals to independently review the basis of recommendations, including required inputs, data quality requirements, algorithm methods, validation evidence, and patient-specific knowns and unknowns. NICE's evidence framework requires proportionate evidence, technical reliability, characterization of uncertainty, and lifecycle evaluation.

Central confidence rule The system shall communicate the evidence supporting a result and the limitations affecting it, rather than presenting an unsupported percentage that may be mistaken for clinical certainty.

# 1. Purpose and Scope

| In scope | Outside scope |
| --- | --- |
| Defining confidence dimensions for data, rules, ML, decisions, explanations, and software execution. | Claiming that a model score is the patient's true probability of an adverse outcome. |
| Specifying confidence degradation, recovery, and lifecycle behavior. | Creating a diagnosis or treatment recommendation from confidence alone. |
| Mapping confidence evidence to the current Laravel-Python architecture. | Inventing calibrated probabilities that have not been validated. |
| Defining safe user-facing communication and audit requirements. | Allowing a confidence label to override a deterministic HIGH rule. |
| Providing validation and governance controls. | Treating confidence as a substitute for clinical review. |

# 2. Confidence Philosophy

| Principle | Requirement |
| --- | --- |
| Risk and confidence are independent dimensions | The same category can have different supporting evidence and limitations. |
| Confidence is multidimensional | No single component fully represents trustworthiness. |
| LOW requires strong evidence | Incomplete or invalid required evidence prevents LOW. |
| HIGH may be established from one reliable rule | Known danger is not neutralized by unrelated missing information. |
| ML confidence is conditional | It depends on input quality, model validity, calibration, and deployment context. |
| Agreement is supportive, not proof | Rule-ML agreement strengthens consistency but does not guarantee correctness. |
| Explanation is not accuracy | A clear explanation can describe a wrong decision; validation remains necessary. |
| Uncertainty must be visible | Known gaps, conflicts, staleness, failures, and unknowns must be communicated. |
| Human review remains essential | The user must be able to examine the basis and act independently. |
| Confidence changes over time | New visits, corrections, reports, model updates, and technical failures alter it. |

# 3. Terminology and Distinctions

| Term | Meaning in this framework | Not equivalent to |
| --- | --- | --- |
| Risk category | HIGH, LOW, or ASSESSMENT INCOMPLETE for a specific assessment snapshot. | Confidence, diagnosis, prognosis. |
| Confidence | Degree to which evidence and process support reliance on the output for its intended decision-support purpose. | Certainty or guaranteed correctness. |
| Probability | A numerical estimate associated with an outcome or class under a defined model. | Clinical truth unless calibrated and validated. |
| Accuracy | Observed proportion of correct results in a defined test population. | Performance for every patient or subgroup. |
| Calibration | Agreement between predicted probabilities and observed outcome frequencies. | Discrimination or feature importance. |
| Discrimination | Ability to separate classes, often evaluated with measures such as sensitivity, specificity, or AUC. | Calibration. |
| Uncertainty | Limitations or lack of knowledge arising from data, model, context, or system factors. | A reason to hide the output. |
| Explainability | Ability to communicate the basis, inputs, rules, model contribution, and limitations. | Proof that the output is correct. |
| Reliability | Consistency and correct technical operation under specified conditions. | Clinical effectiveness by itself. |
| Trust | A user's justified willingness to rely on the system within defined boundaries. | Blind acceptance. |

# 4. Confidence Dimensions

| Dimension | Primary question | Evidence |
| --- | --- | --- |
| Data confidence | Are the inputs complete, valid, current, internally consistent, and attributable? | Validation results, source, time, completeness, range checks, conflicts. |
| Clinical evidence confidence | Do the available findings appropriately support the clinical interpretation? | Approved knowledge base, qualified reports, repeated measurements, context. |
| Rule confidence | Did the deterministic engine evaluate an approved rule correctly using valid inputs? | Rule ID/version, operands, thresholds, trace, tests. |
| ML confidence | Was an approved model executed on valid in-scope data, and what is known about its performance? | Model/schema version, input validation, output validity, validation metrics, calibration status. |
| Hybrid decision confidence | How strongly does the combined rule-ML process support the resolved category? | Precedence, agreement/conflict, completeness, resolver trace. |
| Recommendation confidence | Is the recommended action justified by the resolved risk and clinic capability? | Action mapping, urgency, referral logic, scope. |
| Explanation confidence | Can the result and its limitations be reconstructed accurately? | Reason codes, evidence trace, model/rule versions, known unknowns. |
| System confidence | Did the software execute, save, and communicate the correct version consistently? | Logs, transaction status, checksums/version IDs, screen-print consistency. |
| Human-review confidence | Can the intended user independently review and appropriately respond? | Plain language, training, visible inputs, limitations, override/escalation pathway. |

# 5. Confidence Dependency Model

PATIENT-SPECIFIC SOURCE DATA

↓

DATA CONFIDENCE completeness + validity + currency + consistency + provenance

↓

RULE CONFIDENCE and ML CONFIDENCE independent component evaluation

↓

HYBRID DECISION CONFIDENCE precedence + agreement/conflict + completeness

↓

RECOMMENDATION + EXPLANATION CONFIDENCE reason, urgency, action, known limitations

↓

SYSTEM + HUMAN REVIEW CONFIDENCE correct execution and independent review

Conceptual model This dependency model is qualitative. It is not a mathematical formula and shall not be converted into a percentage without a separately designed, validated, and governed confidence-scoring method.

# 6. Data Confidence

| Data-quality attribute | High-confidence condition | Degradation examples |
| --- | --- | --- |
| Completeness | All required records and features are present. | Missing medical history, ultrasound, birth plan, or model feature. |
| Validity | Values pass type, range, format, and domain checks. | Malformed BP, impossible age, unsupported category, invalid date. |
| Currency | Information is appropriate for the assessment time. | Old report used as current without policy; outdated BP. |
| Consistency | Related values do not contradict one another. | Conflicting pregnancy history or duplicated incompatible entries. |
| Provenance | Source, author, date, and method are known. | Unattributed result, copied text, unknown device/source. |
| Measurement quality | Collection method is appropriate and repeatable. | Single questionable BP, wrong cuff, transcription error. |
| Episode linkage | Data belong to the correct pregnancy. | Prior-pregnancy ultrasound used as current. |
| Verification | Required records are confirmed by authorized personnel. | Unverified draft or patient-reported value used as definitive result. |

## 6.1 Data-confidence outcomes

| Outcome | Meaning | CDSS effect |
| --- | --- | --- |
| SUFFICIENT | Required data meet approved quality conditions. | Rules and ML may proceed. |
| PARTIALLY SUFFICIENT | Some useful evidence exists but one or more required elements remain unresolved. | Known HIGH may still be produced; otherwise INCOMPLETE. |
| CONFLICTED | Required inputs disagree and cannot be safely resolved automatically. | Do not produce LOW; request verification. |
| INVALID | Required values fail validation or are outside supported representation. | Exclude invalid values; do not fabricate replacements. |
| STALE/OUT-OF-CONTEXT | Data are not appropriate for the current assessment or pregnancy. | Require update or explicit clinical acceptance under policy. |
| UNKNOWN | Quality or provenance cannot be established. | Treat as unresolved. |

# 7. Rule Confidence

Deterministic rules can provide strong, inspectable support when their inputs are reliable and the rule is correctly implemented. Confidence belongs to the rule execution and evidence chain, not merely to the existence of a threshold.

| Rule-confidence factor | Required evidence |
| --- | --- |
| Authority | Rule is linked to the approved Clinical Knowledge Base and governance decision. |
| Version control | Rule ID, version, effective date, and change history are stored. |
| Input quality | Every operand has valid source, unit, date, and pregnancy context. |
| Complete evaluation | All applicable deterministic rules are evaluated, not only the first match. |
| Traceability | The exact values and comparison that triggered or did not trigger the rule are recorded. |
| Testing | Boundary, missing-value, unit, interaction, and regression tests pass. |
| Precedence | ML LOW cannot cancel rule HIGH. |
| Scope | Rule is used only for its intended population and workflow. |

Important limitation A deterministic rule may be highly transparent yet still be clinically inappropriate if the threshold, population, or workflow is wrong. Transparency strengthens review but does not eliminate the need for evidence and governance.

# 8. Machine-Learning Confidence

| Component | Required interpretation |
| --- | --- |
| Valid execution | The approved Python environment, model file, schema, and preprocessing completed without error. |
| Input-domain validity | The patient feature vector is complete and within the model's supported representation. |
| Categorical output validity | Current implementation accepts only exact HIGH or LOW output; errors or other text are invalid. |
| Model performance | Metrics must come from defined training/validation/test populations and should include subgroup analysis where feasible. |
| Calibration status | A class probability shall not be interpreted as outcome probability unless calibration has been evaluated and the intended interpretation is justified. |
| Threshold status | Any classification threshold must be documented and validated. |
| Version identity | Model, code, preprocessing, feature schema, and dependency versions must be recorded. |
| Deployment fit | Performance in the development dataset does not automatically establish performance in the clinic population. |
| Drift status | Changes in data distribution, workflow, or patient population may reduce reliability. |
| Known limitations | Small datasets, label quality, class imbalance, missing variables, and external validation gaps remain visible. |

## 8.1 Why the system does not expose an ML percentage

The current clinical output is categorical HIGH or LOW, not a validated patient-specific probability of harm.

Random Forest class probabilities can be poorly calibrated and may require separate calibration and validation.

A high numerical score can create automation bias and false precision.

The deterministic engine may override the model, so one model percentage would not represent the final hybrid decision.

The project's safer user-facing design is to show the category, exact factors, data gaps, model execution status, and limitations.

## 8.2 Forbidden ML-confidence claims

| Forbidden claim | Safer statement |
| --- | --- |
| The patient is 98% high risk. | The approved model classified this complete input as HIGH; this is decision support, not a confirmed probability. |
| The model is 100% accurate. | Performance was measured on a defined dataset; errors and uncertainty remain possible. |
| SHAP proves the cause. | The explanation identifies features influencing the model output; it does not prove causality. |
| High feature importance means high confidence. | Importance describes model influence, not reliability for this patient. |
| Rule and model agree, so the result is certain. | Agreement increases consistency but does not guarantee correctness. |
| LOW means no complications will occur. | LOW means no encoded HIGH factor was identified under the complete validated pathway at that time. |

# 9. Hybrid Decision Confidence

| Rule result | ML result | Completeness | Resolved risk | Confidence interpretation |
| --- | --- | --- | --- | --- |
| HIGH | LOW/HIGH/invalid | Any | HIGH | Strong rule-based support if rule input is reliable; ML conflict/failure remains disclosed. |
| No HIGH | HIGH | Complete | HIGH | ML-supported HIGH; confidence depends on model validation and input fit. |
| No HIGH | LOW | Complete | LOW | Strongest permitted LOW pathway; still not certainty. |
| No HIGH | Invalid/unavailable | Complete otherwise | INCOMPLETE | No valid ML support; confidence insufficient for LOW. |
| No HIGH | Not run | Incomplete | INCOMPLETE | Insufficient evidence; list gaps. |
| HIGH | Invalid/unavailable | Incomplete | HIGH | Known danger remains actionable; overall evidence may still be partial. |
| Conflicted rule input | Any | Conflicted | HIGH if another valid rule exists; otherwise INCOMPLETE | Do not resolve conflict by guessing. |

## 9.1 Qualitative confidence profile

| Profile | Typical conditions | Permitted communication |
| --- | --- | --- |
| ROBUSTLY SUPPORTED | Valid deterministic HIGH with reliable source; or complete no-rule pathway with valid ML output and full trace. | State result and exact basis; still state limitations and non-diagnostic nature. |
| SUPPORTED WITH LIMITATIONS | Known HIGH plus unrelated gaps; ML HIGH with limited external validation; minor noncritical quality issues. | State result, limitations, and required verification/follow-up. |
| INSUFFICIENT FOR LOW | Required data or ML unresolved, or conflicts prevent safe reassurance. | ASSESSMENT INCOMPLETE; identify exact next data needed. |
| TECHNICALLY UNRELIABLE | Execution, persistence, version, or communication failure. | Do not present a new result as current; preserve last successful result and show failure. |

# 10. Confidence Degradation

| Degradation event | Affected dimensions | Required behavior |
| --- | --- | --- |
| Missing required record | Data, hybrid decision | Prevent LOW; list missing record. |
| Invalid BP or unit | Data, rule, decision | Reject/verify value; do not silently coerce. |
| Conflicting history | Data, rule | Request correction; preserve conflict trace. |
| Stale or wrong-pregnancy ultrasound | Data, clinical evidence | Exclude as current evidence. |
| ML timeout or malformed output | ML, hybrid, system | No ML LOW; use rule HIGH if present, otherwise INCOMPLETE. |
| Model/schema mismatch | ML, system | Fail closed; identify version mismatch. |
| Rule configuration error | Rule, system | Disable affected result pathway or escalate incident. |
| Uncommitted/failed save | System | Keep previous saved assessment current. |
| Unexplained output | Explanation, human review | Do not present as independently reviewable. |
| New population or workflow drift | ML, clinical evidence | Monitor, validate, and restrict if needed. |
| User edits after assessment | Data currency | Trigger reassessment. |
| Source record deleted/invalidated | Data, decision | Reassess and preserve prior history. |

# 11. Confidence Recovery

| Recovery action | What it can restore | What it cannot prove |
| --- | --- | --- |
| Complete missing records | Data completeness and ML eligibility. | That the final decision is correct. |
| Repeat questionable BP correctly | Measurement reliability and rule evaluation. | Absence of all other risks. |
| Reconcile conflicting history | Consistency and traceability. | That undocumented history is absent. |
| Obtain qualified updated report | Currency and provenance. | Guaranteed outcome. |
| Restore ML service and rerun | Valid technical inference. | Calibration or local clinical validity. |
| Correct model/schema version | System and ML execution consistency. | Clinical effectiveness without evaluation. |
| Recalculate after source correction | Current evidence alignment. | Permission to erase prior result. |
| Clinical review and referral feedback | Context and care continuity. | Automatic downgrade to LOW. |
| External/local validation | Evidence supporting deployment confidence. | Perfect performance for all patients. |

# 12. Confidence Across the Pregnancy Lifecycle

| Lifecycle point | Confidence requirement |
| --- | --- |
| Registration/new pregnancy | No prior current assessment is assumed; establish new episode context. |
| Early incomplete assessment | Expose gaps; known HIGH remains actionable. |
| Routine prenatal update | Reassess data currency and create a new confidence profile. |
| New ultrasound/history information | Re-evaluate relevant rule and ML evidence. |
| Referral initiated | Maintain risk confidence separately from referral progress. |
| Post-referral feedback | Use new verified clinical data before changing risk confidence. |
| Delivery closure | Freeze the assessment and confidence history. |
| Later pregnancy | Start a separate confidence chain; reconfirm relevant history. |

# 13. User-Facing Confidence Communication

| Display element | Required content |
| --- | --- |
| Risk badge | HIGH, LOW, or ASSESSMENT INCOMPLETE only. |
| Basis | Patient-specific rule factors and/or valid ML classification. |
| Data status | Required records complete, missing, invalid, stale, or conflicted. |
| Model status | Valid, unavailable, invalid, not eligible, or not used. |
| Limitations | Known gaps, scope, and non-diagnostic statement. |
| Assessment time | When the snapshot was evaluated. |
| Source time | When key measurements/reports were obtained. |
| Version trace | Available to authorized reviewers/auditors. |
| Next action | Routine follow-up, complete records, repeat measurement, referral, or urgent escalation. |
| Last successful result | Clearly identified when current recalculation fails. |

Recommended wording pattern Result: HIGH. Basis: BP 142/92 activated rule BP-HIGH-01. Data status: required records complete. Model status: valid LOW but overridden by the deterministic rule. Limitation: this output supports, but does not replace, clinical assessment. Action: follow the approved high-risk referral pathway.

# 14. Laravel and Python Implementation Mapping

| Component | Implementation responsibility |
| --- | --- |
| Request/controller validation | Validate types, ranges, dates, units, ownership, and pregnancy state before assessment. |
| Central assessment service | Build one consistent snapshot and evaluate all rules, completeness, ML, and resolver logic. |
| Python runner | Return machine-readable status, exact category, model version, schema version, and error code. |
| Output validator | Accept only expected structured values; reject error text or unsupported categories. |
| Assessment record | Store category, confidence profile, data-quality flags, rule trace, ML status, versions, and limitations. |
| Current pointer | Update only after successful transaction. |
| Audit log | Record actor, trigger, prior/new state, confidence changes, and failures. |
| UI view model | Display plain-language evidence and limitations without unsupported percentages. |
| Referral service | Consume saved HIGH result/reasons; do not change confidence automatically. |
| Delivered guard | Block active confidence recalculation for closed pregnancy. |
| New pregnancy workflow | Create new assessment/confidence chain. |

## 14.1 Suggested structured confidence object

{
  "profile": "ROBUSTLY_SUPPORTED | SUPPORTED_WITH_LIMITATIONS |
              INSUFFICIENT_FOR_LOW | TECHNICALLY_UNRELIABLE",
  "data_status": "SUFFICIENT | PARTIAL | CONFLICTED | INVALID | STALE | UNKNOWN",
  "rule_status": "HIGH_TRIGGERED | NO_HIGH | INPUT_UNRESOLVED | ENGINE_ERROR",
  "ml_status": "VALID_HIGH | VALID_LOW | NOT_ELIGIBLE | TIMEOUT | INVALID | ERROR",
  "agreement": "AGREE_HIGH | AGREE_LOW | RULE_OVERRIDES_ML |
                ML_ONLY_HIGH | NOT_COMPARABLE",
  "explanation_status": "COMPLETE | PARTIAL | FAILED",
  "system_status": "SAVED | SAVE_FAILED | STALE_RESULT",
  "limitations": ["..."],
  "versions": {"rules":"...", "model":"...", "schema":"..."}
}

# 15. Validation Scenarios

| Test ID | Scenario | Expected result |
| --- | --- | --- |
| CONF-01 | Complete valid data, no rule HIGH, valid ML LOW | LOW with robustly supported profile. |
| CONF-02 | Complete valid data, rule HIGH, ML LOW | HIGH; rule override and conflict disclosed. |
| CONF-03 | Complete valid data, no rule HIGH, ML HIGH | HIGH; ML-supported profile and model limitations. |
| CONF-04 | Missing ultrasound, no rule HIGH | INCOMPLETE; insufficient for LOW. |
| CONF-05 | Missing birth plan but verified BP HIGH | HIGH; supported with limitations. |
| CONF-06 | ML timeout, no rule HIGH | INCOMPLETE; ML unavailable. |
| CONF-07 | ML timeout with age 17 | HIGH; rule support unaffected. |
| CONF-08 | Malformed ML output | Reject output; never infer LOW. |
| CONF-09 | Invalid BP format | Require correction; no silent parsing. |
| CONF-10 | BP unit mismatch | Reject or normalize only through approved validated conversion. |
| CONF-11 | Conflicting previous-CS entries | No LOW until reconciled unless another valid HIGH exists. |
| CONF-12 | Old ultrasound from prior pregnancy | Exclude from current evidence. |
| CONF-13 | Qualified new ultrasound corrects prior entry | New assessment; preserve prior trace. |
| CONF-14 | Rule and ML agree HIGH | Agreement recorded; no certainty claim. |
| CONF-15 | Rule and ML agree LOW | LOW only if all completeness conditions met. |
| CONF-16 | Feature importance available | Do not label as confidence. |
| CONF-17 | SHAP explanation available | Use for influence explanation, not causality. |
| CONF-18 | Random Forest score 0.98 but uncalibrated | Do not show as 98% patient risk. |
| CONF-19 | Model version missing | Technically unreliable; no new ML-supported result. |
| CONF-20 | Schema mismatch | Fail closed; preserve last successful assessment. |
| CONF-21 | Assessment save fails | Prior saved result remains current plus error warning. |
| CONF-22 | Screen shows different model status than print | Test fails. |
| CONF-23 | Rule threshold boundary 140/90 | Exact boundary test passes and trace shows operands. |
| CONF-24 | Missing value imputed without approved policy | Test fails. |
| CONF-25 | Data corrected after LOW | Automatic reassessment and new confidence profile. |
| CONF-26 | Referral completed without new clinical data | Risk/confidence unchanged. |
| CONF-27 | Patient refuses referral | HIGH and evidence confidence remain; refusal recorded separately. |
| CONF-28 | New pregnancy starts | No inherited current confidence profile. |
| CONF-29 | Delivered pregnancy edited | Blocked. |
| CONF-30 | Unattributed ultrasound report | Provenance unresolved; cannot support LOW. |
| CONF-31 | Repeated BP confirms earlier high value | Measurement confidence improves; HIGH remains. |
| CONF-32 | Single normal BP after severe high | No automatic robust LOW. |
| CONF-33 | Model retrained | New version requires validation; no historical rewrite. |
| CONF-34 | Population drift alert | Deployment confidence reduced; governance review triggered. |
| CONF-35 | Explanation omits active rule | Test fails. |
| CONF-36 | Known limitation omitted from user display | Test fails. |
| CONF-37 | No assessment represented as LOW | Test fails. |
| CONF-38 | System labels result 100% certain | Test fails. |
| CONF-39 | All evidence valid but explanation service fails | Do not claim independently reviewable output; show failure. |
| CONF-40 | Authorized reviewer reconstructs exact result | Inputs, versions, rules, ML status, and resolver reproduce assessment. |

# 16. Monitoring Indicators

| Indicator | Purpose |
| --- | --- |
| Incomplete-assessment rate and reasons | Identify recurring data-confidence failures. |
| ML invalid/timeout rate | Monitor inference reliability. |
| Rule-ML disagreement rate | Evaluate hybrid behavior. |
| Percentage of assessments with complete trace | Monitor explanation confidence. |
| Save/communication mismatch rate | Monitor system confidence. |
| Corrections after assessment | Identify source data-quality problems. |
| Model performance by subgroup | Detect inequitable or unstable performance. |
| Calibration measures when probabilities are used internally | Prevent probability misinterpretation. |
| Out-of-distribution or drift signals | Detect deployment mismatch. |
| LOW followed rapidly by HIGH | Review missed or newly emerging evidence. |
| Clinician override/escalation rate | Understand human-system interaction. |
| User comprehension and automation-bias findings | Evaluate whether confidence communication is safe. |

# 17. Governance and Change Control

Maintain a controlled vocabulary for confidence profiles, data-quality flags, ML statuses, and limitations.

Do not introduce numerical clinical-confidence scores without a formal specification, validation study, calibration analysis where relevant, and governance approval.

Document intended users, intended population, required inputs, data-quality requirements, algorithm methods, validation evidence, and patient-specific knowns/unknowns.

Validate performance and confidence communication in the actual or representative deployment context.

Assess subgroup performance and potential bias using clinically meaningful groups where feasible.

Store rule, model, preprocessing, schema, explanation, and software versions for every assessment.

Reassess evidence after changes to workflow, patient population, hardware, software dependencies, rules, or model.

Investigate technical failures, misleading confidence displays, unexplained outputs, and automation-bias incidents.

Ensure human users receive training on risk-confidence separation and system limitations.

Review whether the system continues to permit independent professional review of its basis.

# 18. Panel Defense Questions and Model Answers

Q: Is confidence the same as risk?

A: No. Risk is the result category; confidence describes how strongly the evidence and process support that result.

Q: Can risk be HIGH while confidence is limited?

A: Yes. One verified HIGH rule may require action even when unrelated records are missing.

Q: Can risk be LOW with low confidence?

A: The framework prevents this. LOW requires complete valid data, no deterministic HIGH, and valid ML LOW.

Q: Why do you not show a confidence percentage?

A: The project has no validated clinical-confidence model or calibrated patient-risk probability that would justify such a number.

Q: Is Random Forest probability the patient's actual chance of complication?

A: Not automatically. That interpretation requires calibration, outcome definition, and validation in an appropriate population.

Q: Does rule-ML agreement prove correctness?

A: No. It supports internal consistency but both components can share bad inputs or design limitations.

Q: Is explainability the same as confidence?

A: No. Explainability makes the basis reviewable; it does not prove the decision is correct.

Q: What happens to confidence when ML fails?

A: ML confidence becomes unavailable. A valid deterministic HIGH still stands; otherwise the assessment cannot become LOW.

Q: How does confidence recover?

A: Through corrected or completed evidence, valid reruns, updated reports, and validated system operation, while preserving history.

Q: How is confidence implemented in Laravel?

A: Through structured flags and trace fields for data quality, rule status, ML status, agreement, explanation, limitations, versions, and save status rather than a single percentage.

Q: How does this protect patients?

A: It prevents false reassurance, exposes uncertainty, preserves known HIGH factors, and supports independent clinical review and escalation.

Q: What guidance supports this design?

A: WHO health-AI principles, FDA CDS transparency and independent-review expectations, NICE evidence and uncertainty standards, and IMDRF clinical-evaluation principles.

# 19. Final Authoritative Confidence Specification

Approved confidence statement For each assessment, the CDSS shall maintain a transparent qualitative confidence profile that is separate from the risk category and derived from documented data quality, clinical evidence, deterministic-rule execution, machine-learning execution and validation status, hybrid resolution, explanation completeness, software persistence, and human-review conditions. The system shall not represent model class scores, feature importance, explanation values, rule-model agreement, or historical accuracy as patient-specific clinical certainty. LOW shall require sufficient complete and valid evidence, no deterministic HIGH factor, and a valid approved ML LOW result. A verified deterministic HIGH shall remain actionable despite unrelated missing information or ML failure, while those limitations remain visible. Machine-learning output shall be accepted only when the correct approved model, preprocessing, schema, and input domain are verified; invalid, unavailable, or malformed output shall never be converted to LOW. Numerical probabilities shall not be shown as clinical-risk probabilities unless their interpretation, calibration, threshold, validation population, subgroup performance, and deployment relevance are formally established and governed. Every user-facing result shall communicate its patient-specific basis, data and model status, known limitations, assessment time, and required action in language that enables an intended health professional to independently review the recommendation. A failed execution or save shall not replace the last successfully stored result. Confidence evidence and its versions shall be preserved across reassessment, referral, delivery, and new-pregnancy lifecycle transitions without destructive rewriting.

# 20. References

Official and primary sources are prioritized. Accessed July 2026. URLs are clickable.

[1] World Health Organization. Ethics and governance of artificial intelligence for health. 2021. https://www.who.int/publications/i/item/9789240029200

[2] World Health Organization. Guidance on ethics and governance of artificial intelligence for health: large multi-modal models. 2024. https://www.who.int/publications/i/item/9789240084759

[3] World Health Organization. Digital Adaptation Kit for Antenatal Care: Operational requirements for implementing WHO recommendations in digital systems. 2021. https://www.who.int/publications/i/item/9789240020306

[4] World Health Organization. SMART Guidelines. current programme. https://smart.who.int/

[5] U.S. Food and Drug Administration. Clinical Decision Support Software: Guidance for Industry and FDA Staff. 2026. https://www.fda.gov/regulatory-information/search-fda-guidance-documents/clinical-decision-support-software

[6] U.S. Food and Drug Administration. Digital Health Policy Navigator: Is the software function intended to provide clinical decision support?. current. https://www.fda.gov/medical-devices/digital-health-center-excellence/step-6-software-function-intended-provide-clinical-decision-support

[7] National Institute for Health and Care Excellence. Evidence standards framework for digital health technologies. 2018; updated 2022. https://www.nice.org.uk/corporate/ecd7

[8] National Institute for Health and Care Excellence. Section C: Evidence standards tables. 2022. https://www.nice.org.uk/corporate/ecd7/chapter/section-c-evidence-standards-tables

[9] National Institute for Health and Care Excellence. How to meet the standards. 2022. https://www.nice.org.uk/corporate/ecd7/chapter/how-to-meet-the-standards

[10] International Medical Device Regulators Forum. Software as a Medical Device: Clinical Evaluation. 2017. https://www.imdrf.org/documents/software-medical-device-samd-clinical-evaluation

[11] National Privacy Commission, Philippines. Implementing Rules and Regulations of the Data Privacy Act of 2012. 2016. https://privacy.gov.ph/implementing-rules-regulations-data-privacy-act-2012/

[12] Department of Health, Philippines. Administrative Order No. 2007-0039: Regulation of Birthing Homes. 2007. https://elibrary.judiciary.gov.ph/thebookshelf/showdocs/10/52132

# Appendix A. Confidence Review Checklist

Correct patient and pregnancy episode confirmed.

Required records and features identified.

Completeness, validity, currency, consistency, provenance, and verification checked.

All deterministic rules evaluated with trace.

ML eligibility, model, schema, preprocessing, and output validity confirmed.

Rule-ML agreement or conflict recorded.

Risk and confidence represented separately.

No unsupported percentage or certainty claim shown.

Known limitations and unknowns displayed.

Recommendation matches clinic capability and urgency.

Explanation permits independent review.

Assessment and source timestamps shown.

Current pointer updated only after successful save.

Screen, print, email, referral, and audit use the same version.

Historical confidence evidence preserved.

# Appendix B. Release-Blocking Confidence Defects

| Defect | Why release must stop |
| --- | --- |
| Uncalibrated score shown as patient-risk probability | Creates false precision and unsafe interpretation. |
| LOW produced with missing required evidence | False reassurance. |
| ML error text accepted as a category | Invalid inference. |
| Rule HIGH suppressed by ML LOW | Violates safety precedence. |
| No model/rule/schema version stored | Cannot reconstruct result. |
| Active limitation omitted from explanation | Prevents informed review. |
| Feature importance presented as confidence | Misrepresents model evidence. |
| SHAP value presented as causal proof | Misrepresents explanation. |
| Failed save shown as current result | Displays an uncommitted decision. |
| Screen and print show different confidence evidence | Creates inconsistent clinical communication. |
| Prior assessment/confidence trace overwritten | Destroys audit history. |
| Delivered or prior-pregnancy evidence used as current without validation | Wrong episode context. |
| System claims 100% certainty or accuracy | Unsupported and misleading. |
| Users cannot inspect input basis and known unknowns | Prevents independent review. |